September 26, 2016

City of Albuquerque

Development Review Board

Care of: Mr. Jack Cloud (Chairman of the DRB)

600 2nd. St. NW

Albuquerque, NM 87102

RE:	DRB Justification Letter for submittal for Final Sign-Off for EPC Approved Site Development Plan for Subdivision – Project Number 1000032

Dear DRB Chairman Mr. Jack Cloud:

Joshua J. Skarsgard acted as agent on behalf of Oxbow Town Center, LLC, for the EPC application 15EPC-40079 for approval of a Site Development Plan for Subdivision.  That was approved in April 15th of 2016. The Subject Property has since been sold to Red Shamrock Investments, LLC, Red Shamrock 10, LLC, and Retail Equity Development 6, LLC (collectively referred to as the “Applicant”). Attached to this letter is the request for Final Sign-Off for the EPC Approved Site Development Plan for Subdivision to the Development Review Board (“DRB”) on the real property described as:

Tract X-1-A2 Plat of Tracts X-1-A1 & X-1-A2 University of Albuquerque Urban Center, zoned SU-3/Mixed Use, located on Coors Blvd., between St. Josephs and Western Trail NW, containing approximately 21.3 acres.

(“Subject Property”).

The EPC issued an Amended Official Notification of Decision on April 15, 2016 (“Notice”), to approve the application for a Site Development Plan for Subdivision. The purpose of this Justification Letter is to provide responses as to how the Applicant has addressed the Conditions contained in the Notice.

EPC NOTICE CONDITIONS:

- The EPC delegates final sign-off authority of this site development plan to the Development Review Board (DRB). The DRB is responsible for ensuring that all EPC Conditions have been satisfied and that other applicable City requirements have been met. A letter shall accompany the submittal, specifying all modifications that have been made to the site plan since the EPC hearing, including how the site plan has been modified to meet each of the EPC conditions. Unauthorized changes to this site plan, including before or after DRB final sign-off, may result in forfeiture of approvals.

APPLICANT’S RESPONSE: This letter shall accompany the submittal to specify all modifications that have been made to the site plan since the EPC hearing, including how the site plan has been modified to meet each of the EPC conditions.

- Prior to application submittal to the DRB, the applicant shall meet with the staff planner to ensure that all conditions of approval are met.

APPLICANT’S RESPONSE: The Applicant met with staff (Mr. Vicente Quevedo) on Friday September 23rd at 11 a.m. at Plaza Del Sol office to ensure that all the conditions of approval were met. Mr. Quevedo will be submitting a “memo” (memorandum) to Mr. Cloud that addresses the staff review of the Conditions of Approval. Attached below are some of the changes to the Site Development Plan for Subdivision: (i) 12 lots to 9 Lots (CVS terminated their location on the Subject Property); (ii) NMDOT Reader Board (location adjacent to Coors Blvd as required by NMDOT); (iii) Pedestrian access from Quaker Heights Road; (iv) established exactly 7 acres of O-1 zoning on the northwest corner of the Subject Property.

3.	Conditions of approval from Albuquerque / Bernalillo County Water Utility Authority:

  - The conceptual utility plan indicates an onsite public waterline. If individual lots are to be served from separate water meters, then this would be allowed. The waterline shall be minimized, thus there is potential to eliminate the proposed public waterline along the western property lines of Lots 8-12 as well as the waterlines south of Lot 8 and south of Lot 7. The proposed fire hydrants that are connected to these lines to be eliminated can be extended from the remaining public waterlines. All fire hydrants on the property shall be deemed private. All public waterline easements shall be 20' in width and granted to the Water Authority.

APPLICANT’S RESPONSE: The Applicant has designed a public sanitary sewer line to be situated within the “Access and Utility Easement” within 20 feet in width and granted to the ABCWUA (See Keyed Note “A” on the Site Development Plan for Subdivision). The Applicant is committed to having “private fire hydrants” that are extended from the public waterlines (as required by the Condition of Approval). The Applicant’s civil engineer have been in discussions with Mr. Kris Cadena (ABCWUA) to complete the design and dedication language.

  - The proposed sanitary sewer shall be deemed private.

APPLICANT’S REPSONSE: The Applicant has designed a private sanitary sewer line to be situated within the “Access and Utility Easement”. (See Keyed Note “A” on the Site Development Plan for Subdivision).

  - Request an availability statement at the following link:

http://www.abcw ua.org/Availability_Statements.aspx. Requests shall include fire marshal requirements.

APPLICANT’S RESPONSE:  The Applicant has submitted the availability statement on the ABCWUA website.

- Conditions of approval from NMDOT:

  - The standard drawings for the ITS sign shall be installed per NMDOT Std dwgs 701-01 series using the Dynamic/VMS notes and 701-06 series upsized by two sizes.

APPLICANT’S RESPONSE: The Applicant and their traffic engineer (Mr. Terry Brown, P.E.) shall install the ITS SIGN per NMDOT Std. dwgs. 701-01 series using the Dynamic/VMS notes and 701-06 series upsized by two sizes. The Applicant and Terry Brown have met with Nancy Perea (NMDOT) on two occasions. The “right in right out” curb cut and deceleration lane off of Coors Blvd. complies with the State Access Management Manual spacing requirements from the intersection of Coors and St. Joseph’s. The Applicant is going to pay for the installation of a new electronic reader board.

- Conditions of approval from Solid Waste Management - Refuse Division:

  - Project#l000032--# of refuse enclosures indicated, inadequate for size of site development. Tracts I and 2 indicate enclosure locations. Please indicate enclosures for 3,4,5,7. Provide site plan to minimum scale of 1-50 to verify truck access.

APPLICANT’S RESPONSE: The Applicant will meet the City of Albuquerque requirements for trash enclosures (refuse enclosures) on each individual Site Development Plan for Building Permit applications. We will verify truck access and truck turning radius on individual Site Development Plan for Building Permit applications (Delegated to the DRB).

- Conditions of approval from Public Service Company of New Mexico:

  - An existing overhead distribution line is located along the eastern boundary of the subject property on the west side of Coors Blvd NW. In addition, an existing overhead distribution line is also located along the southern boundary of the property on the north side of St. Josephs Drive NW. It is the applicant's obligation to abide by any conditions or terms of those easements. Sheet DS02 - Site Development Plan for Subdivision Design Standards, Section VII. Utilities, indicates that the existing PNM overhead distribution line on Coors Blvd. would be relocated. It is necessary for the developer to contact PNM's New Service Delivery Department to discuss distribution line relocation and potential streetlight impact in the submittal and to coordinate electric service for this project. PNM is requesting a meeting with the applicant before the February EPC hearing to discuss the relocation assumptions and alternative location to place the distribution line. In the event that the distribution line cannot be relocated, the Conceptual Grading and Drainage Plan indicates that the first flush water quality pond is being directed at PNM existing pole locations on the northeast comer of the   project which is not acceptable. Contact:

Mike Moyer

PNM Service Center

420 l Edith Boulevard NE

Albuquerque, NM 87107

Phone:  (505) 241-3697

APPLICANT’S RESPONSE: The Applicant met with Mike Moyer and PNM in June of 2016. The Applicant emailed the AUTO CAD files to PNM for them to plan their pole relocations. The PNM power poles will need to be relocated on the north half of the Subject Property (as a result of the 12 foot dedication to the State of New Mexico – future expansion of Coors Blvd public right of way). Additionally, the Applicant and PNM are working on a “looped” electrical service plan to provide electrical service to the pads located within the Coors Pavilion.

  - Ground-mounted equipment screening will be designed to allow for access to utility facilities. All screening and vegetation surrounding ground-mounted transformers and utility pads are to allow 10 feet of clearance in front of the equipment door and 5-6 feet of clearance on the remaining three sides for safe operation, maintenance and repair purposes. Refer to the PNM Electric Service Guide at www.pnrn.com for specifications.

APPLICANT’S RESPONSE: The Applicant is committed to screening the ground mounted transformers. This will be included on each individual Site Development Plan for Building Permit application (delegated to RB).

- The subdivision of the site shall comply with the purpose, intent, and regulations of the Subdivision Ordinance (14-14-1-3).

APPLICANT’S RESPONSE: The subdivision of the site complies with the purpose, intent and regulations of the Subdivision Ordinance (14-14-1-3).

- The Site Development Plan shall comply with the General Regulations of the Zoning Code, the Subdivision Ordinance, and all other applicable design regulations, except as specifically approved by the EPC.

APPLICANT’S RESPONSE:  The Site Development Plan complies with the General Regulations of the Zoning Code, the Subdivision Ordinance, and all other applicable design regulations, except as specifically approved by the EPC.

- The service drive along the western boundary shall extend north to the proposed southern boundary of the 0-1 lots and then head east.

APPLICANT’S RESPONSE: The service drive along the western boundary extends north to the proposed southern boundary of lots and then heads east.

- All buildings shall have exterior security cameras.

APPLICANT’S RESPONSE: All buildings will have exterior security cameras.

- Developer shall be responsible for permanent improvements to transportation facilities as required by the approved TIS.

APPLICANT’S RESPONSE: The Applicant shall be responsible for all permanent improvements to the transportation facilities are required by the TIS (and discussed with City of ABQ and NMDOT).

- All subsequent site development plans for building permits shall be delegated to an advertised DRB hearing.

APPLICANT’S RESPONSE: All subsequent site development plans for building permits will be submitted for approval at an advertised DRB hearing.

CONCLUSION:

If you have any questions or concerns regarding this Application, please contact me using the following contact information: Joshua Skarsgard, 8220 San Pedro NE, Suite 500, Albuquerque, New Mexico 87113; Phone: (505) 262-2323; and E-mail: josh@retailsouthwest.com. I, Josh Skarsgard, am the managing member of Red Shamrock Investments, LLC and Red Shamrock 10, LLC, and the Manager of Retail Equity Development 6, LLC, the Owner of the Subject Property (and therefore an updated Agency Authorization letter will not accompany this letter).

Sincerely,

RED SHAMROCK INVESTMENTS, LLC

_________________________________

Joshua Skarsgard, Managing Member

RED SHAMROCK 10, LLC

_________________________________

Joshua Skarsgard, Managing Member

RETAIL EQUITY DEVELOPMENT 6, LLC

__________________________________

Joshua Skarsgard, Manager

S:/Developments/ABQ Coors and St. Joseph/Coors Pavilion/Coors Pavilion DRB Letter 9-9-16