October 10, 2016

City of Albuquerque

Development Review Board

600 2nd. St. NW

Albuquerque, NM 87102

RE:	DRB Justification Letter for submittal for Final Sign-Off for EPC Approved Site Development Plan for Subdivision – Project Number 1000032 (16DRB—70353)

Dear DRB Chairman Mr. Jack Cloud:

Please be advised that Retail Southwest Development, LLC (Joshua Skarsgard) (“Agent”) is acting as agent on behalf of Red Shamrock 10, LL, Red Shamrock Investments, LLC, and Retail Equity Development 6, LLC (as Tenants in Common – Owners) (“Applicant”), in their request for approval of an Site Development Plan for Subdivision to the Development Review Board (“DRB”) on the real property described as:

Tract X-1-A2 Plat of Tracts X-1-A1 & X-1-A2 University of Albuquerque Urban Center, zoned SU-3/Mixed Use, located on Coors Blvd., between St. Josephs and Western Trail NW, containing approximately 21.3 acres.

(“Subject Property”).

Agent attended the October 5, 2016 DRB hearing and received comments on the submitted Site Development Plan for Subdivision. The purpose of this Supplemental Justification Letter is to provide responses to the DRB comments.

Hydrology Comments

Applicant is working with DMD regarding the use of Ladera pond 16B.

Applicant Response: The Applicant has committed to the City of ABQ – DMD – Ms. Kellie Shaw (and Abiel Carrillo) to make available a 25’ storm drainage easement along the west boundary of the Subject Property to transfer storm water for a “regional solution”. This is currently being designed by City of Albuquerque.

Utility Comments

- Request an availability/serviceability statement online at the following link:  http://www.abcwua.org/Availability_Statements.aspx.  Requests shall include fire marshal requirements.  An executed statement must be obtained prior to plat approval.

Applicant Response: The Applicant met with the ABCWUA and was told that the ABCWUA would provide the Water Serviceability Statement directly to the DRB (attn: Kris Cadena). The Applicant has also filled out the online “aspx” file. The Applicant will secure the Fire Marshall approval prior to Plat sign off (plat approval – per the comment above).

- Is the type of development known at this point?  This will provide the information needed to determine the sizes of the proposed waterlines.

Applicant Response: The development type is known (21 acres regional C-2 and O-1 uses) and the Applicant will secure the sizes and width and depth of the water lines in concert with the ABCWUA prior to plat approval.

- Indicate if there is an existing easement for the existing 10” waterline along the southeastern corner of Lot X1A1.

Applicant Response: The Applicant will provide an easement for this 10” waterline as part of the plat application (final plat approval).

- Waterline service and fire protection

- There is an existing 16” concrete cylinder water transmission line along St. Joseph’s Dr. with two 16” stubs located just west of Coors Blvd.  A distribution main extension may be required along the property frontage of St. Joseph’s Dr.  This waterline may qualify for prorating the property along the south Side of St. Joseph’s Dr.  This extension may be required on the infrastructure list and financially guaranteed.

Applicant Response: The Applicant will work with ABCWUA on the waterlines and the related infrastructure list and financial guarantee (during the plat application)

- There may be a need to provide for exclusive public waterline easements onsite to provide for a looped connection from the existing 8” waterline located north of the site along Quaker Heights Pl., to the existing 10” waterline stub located at the southwest corner of the subject property (existing Lot X1A1).  This may be a requirement based on the required fire flow requirements.  The availability statement will provide the official requirements for service.

Applicant Response: The Applicant is working with ABCWUA on public waterline easements as part of the plat application.

- Pending fire flow requirements, an onsite public waterline may not be required, so private easements for private water services and fire lines may be needed to provide service from existing public waterlines along Coors Blvd./St. Joseph’s Dr./Atrisco Dr.

Applicant Response: The Applicant is working with ABCWUA on public waterline easements as part of the plat application.

4. 	Onsite sanitary sewer shall be private.

Applicant Response: Applicant agrees with this condition.

5. 	Provide a utility plan for review.

Applicant Response: Conceptual Utility Plan was submitted along with Application for SDP for Subdivision.

Transportation Comments

- The Traffic Impact Study (TIS) needs to be approved prior to approval of the site plan.  This includes approval of access on Coors from NMDOT.

Applicant Response: The TIS has been reviewed by Mr. Tony Loyd at the City of Albuquerque and he indicated in an email to our traffic engineer Mr. Terry Brown that he had “no comments on the above referenced TIS”. Additionally, the NMDOT Director Nancy Perea indicated she would have the approval letter by Friday Oct. 14th. PLEASE REFERENCE BOTH EMAILS BELOW.

- From: Loyd, Tony J. [mailto:TLoyd@cabq.gov] 
Sent: Monday, September 12, 2016 3:28 PM
To: '"Terry Brown" <tobe@swcp.com>' <tobe@swcp.com>
Cc: Michel, Racquel M. <rmichel@cabq.gov>
Subject: Coors Pavilion Retail Development TIS

Hi Terry,

I have no comments on the above referenced TIS.

Tony

Tony Loyd

City of Albuquerque

Planning Department

Development Review Services Division

600 2nd St. NW, Suite 201

Albuquerque, NM 87102

(505) 924-3934

tloyd@cabq.gov

From: Terry Brown [mailto:terryobrown@outlook.com] 
Sent: Friday, October 07, 2016 4:19 PM
To: Trish Lopes <trish@retailsouthwest.com>
Cc: Josh Skarsgard <josh@skarsgardfirm.com>
Subject: RE: Coors Pavilion: DRB Review comments

Trish / Josh,

I was able to meet with Nancy Perea this afternoon.  She pointed out some typos in my report.  I told her that I would clean it up this weekend and get it back to her Monday.  She said that she would have an approval letter ready by next Friday.  We should follow-up on Wednesday or Thursday.

Thanks,

Terry

- Perform an overall quality control check.  It appears some keyed notes are not pointing at the correct items.

Applicant Response: The applicant has resolved the quality control items (notes, etc.).

If you have any questions or concerns regarding this Application, please contact me using the following contact information: Joshua Skarsgard - 8220 San Pedro NE Suite 500 Albuquerque, NM 87113 - Phone: 505-262-2323 E-mail: josh@retailsouthwest.com.

Sincerely,

____________________________

Joshua Skarsgard, Esq.