|  |  |  |  |
| --- | --- | --- | --- |
| DRB Project Number: | 1000111 | Hearing Date: | **4-4-2018** |
| Project: | Altura Complex | Agenda Item No: | **5** |

**TYPE OF REQUEST:**

|  |  |  |  |
| --- | --- | --- | --- |
| Sketch Plat | Minor Preliminary / ….Final Plat | Preliminary Plat | Final Plat |
| Temp Sidewalk ….Deferral | Sidewalk ….Waiver/Variance | Site Plan for Building ….Permit | Site Plan for ….Subdivision |
| SIA Extension (2yr) | SIA Extension - ….Sidewalk | Vacation of Public ….Easement | Vacation of Public ….Right of Way |

**ENGINEERING COMMENTS:**

* A private cross lot drainage easement is required with Maintenance and Beneficiary.

**RESOLUTION/COMMENTS:**