|  |  |  |  |
| --- | --- | --- | --- |
| DRB Project Number: | 1011569 | Hearing Date: | **04-04-2018** |
| Project: | Parkland Hills, Lots 1, 2 ,3 ,15, & 16, Block 25 | Agenda Item No: | **14** |

|  |  |  |  |
| --- | --- | --- | --- |
| [x]  Sketch Plat | [ ]  Minor Preliminary / ….Final Plat | [ ]  Preliminary Plat | [ ]  Final Plat |
| [ ]  Temp Sidewalk ….Deferral | [ ]  Sidewalk ….Waiver/Variance | [ ] Site Plan for Bldg. Permit[ ]  Site Plan for Subdivision | [ ]  Bulk Land Plat |
| [ ]  SIA Extension  | [ ]  DPM Variance  | [ ]  Vacation of Public ….Easement | [ ]  Vacation of Public ….Right of Way |

**ENGINEERING COMMENTS:**

* Cross Lot Drainage Easement note specifying the beneficiary and maintenance agreement must be added to the plat.
* For Information - Approved grading and drainage plan is required prior to Building Permit if one of these conditions is met. (500 cy of grading, 1,000 sf of proposed building , or 2,000 sf of proposed paving).

**RESOLUTION/COMMENTS:**

Parks & Rec:

Water:

Transportation:

Planning: