Pres Center on Louisiana

# Administrative Amendment Request

## Project #PR 2018-001579 SI-

Transportation Development Comments:

* Platting is required prior to building permit.
* Fire Marshall Approval and Solid Waste Approval is required prior to Transportation’s approval.
* There is a concrete joint detail for the northern wall but not a wall cross-section provided for the number referenced on the site plan. The cross section is A1/AS101
* Adjust sight distance triangle locations to match standards in DPM. The mini sight triangle is shown behind the sidewalk. Adjust landscaping if needed. They have been adjusted.
* Label “MC” in back of motorcycle spaces and “Compact” in back of compact spaces. Labels have been added.

Contact: Jeanne Wolfenbarger 924-3991, [jwolfenbarger@cabq.gov](mailto:jwolfenbarger@cabq.gov)