W

E

W

ooten

E

ngineering

1005 21st Street SE, Suite 13

Rio Rancho, NM 87124

505

-

980

-

3560

jeffwooten.pe@gmail.com

July 31, 2026

Ms. Kim Dicome

DRB Chair, Planning Department

City of Albuquerque

600 2nd St NW						VIA E-Mail: kdicome@cabq.gov

Albuquerque, NM 87102

RE:	Project Number 1011184 (18EPC-40001); Amended Site Development Plan for Subdivision and Site Development Plan for Building Permit;

DRB Application addressing the Conditions of Approval

Dear Ms. Dicome,

We are in receipt of the Official Notification of Decision for the subject project dated March 8, 2018.  The plans have been revised to address the Conditions of Approval as follows:

CONDITIONS: 18EPC-40001 – Site Development Plan for Building Permit

- The EPC delegates final sign-off authority of this site development plan to the Development Review Board (DRB).  The DRB is responsible for ensuring that all EPC Conditions have been satisfied and that other applicable City requirements have been met.  A letter shall accompany the submittal, specifying all modifications that have been made to the site plan since the EPC hearing, including how the site plan has been modified to meet each of the EPC conditions.  Unauthorized changes to this site plan, including before or after DRB final sign-off, may result in forfeiture of approvals.

RESPONSE:  This letter is intended to meet the requirement.

- Prior to application submittal to the DRB, the applicant shall meet with the staff planner to ensure that all conditions of approval are met.

RESPONSE:  We met with the staff planner, Cheryl Somerfeldt, on May 14, 2018 to review the revised plans and ensure the conditions have been met.

- The Site Plan shall include a statement that the owner of Lot 9-A-2 shall build the required pavement, sidewalk, and landscaping improvements on Lot 9-A-1 and be responsible for the maintenance of these improvements on Lot 9-A-1 redevelops.

RESPONSE:  The final signed of versions of the June 2017 Amendment to the Site Plan for Subdivision (sheet AS1) and the Site Plan for Building Permit for the Christian Brothers project (Sheet AS5) have been included in the current set of plans.  We also removed the informational sheets as requested.

- Internal pedestrian walkways shall be distinguished from driving surfaces through the use of special materials instead of painted stripes on asphalt pursuant to the La Cueva SDP Design Regulation3R-3.

RESPONSE:  We have modified the keyed note to reflect stamped colored concrete at the pedestrian crossings.  The detail can be found on the detail sheet.

- The CMU block wall on the south property line shall either be removed pursuant to the agreement between the property owner of the subject site (Lot 9-A-2) and the adjacent church property to the west (Lot-9-A-1) or there should be a sufficient opening created at the new pedestrian sidewalk/pathway/trail to allow for pedestrian and bicycle access to the site.

RESPONSE:  The existing block garden wall will be removed both in front of the proposed Wecks and the Church.  We have reflected this on the revised site plan.

- Per Zoning Code Section 14-16-3 10 (F) (1), one shade tree shall be provided per ten parking spaces and no parking space shall be more than 100-feet from a tree trunk.

RESPONSE:  The shade trees are actually shown on the plan; however, since the Landscape Plans have been broken up onto two sheets per staff’s request, the other two trees are shown on the church landscape plan.

- A note shall be added to the elevation sheets indication that the signage for the subject site is controlled by the C-1 zone of the Zoning Code per the SU-2 Mixed Use zone of the La Cueva Sector Development Plan.

RESPONSE:  The requested note has been added to the building elevations.

- The monument sign showed on Lot 9-A-1 at Holly Avenue NE is not permitted because it is an off-premise sign and shall be either removed or moved to the subject lot, 9-A-RESPONSE:  The proposed monument sign has been removed.

- Conditions of Approval from other agencies:

- PLANNING

- Extend the sidewalk along the west side of the building, all the way to the public sidewalk/trail and remove any barriers to the pedestrian access from the public sidewalk/trail along Paseo del Norte.

RESPONSE:  We discussed this situation with Cheryl Somerfeldt and she agreed the additional sidewalk connection is not needed since there is no entrance into the building along the south side of the building.  The door shown on the west side of the building is for emergency egress only.

- TRANSPORTATION DEVELOPMENT

- Developer is responsible for permanent improvements to the transportation facilities adjacent to the proposed development site plan, as required by the Development Review Board (DRB).

RESPONSE:  We have included the Infrastructure List as required.

- Site plan shall comply and be in accordance with all applicable City of Albuquerque requirements, including the Development Process Manual and current ADA criteria.

RESPONSE:  The plans will comply with both the COA and ADA standards.

The following items need to be addressed prior to DRB:

- Dimension or detail the Accessible parking. Indicate proper signage at each parking space.

RESPONSE:  The required dimensions have been added to the site plan.

- Motorcycle parking needs to be dimensioned and a note or detail for signage needs to be included.

RESPONSE:  The MC spaces have been dimensioned and the details have been added.

- Label all radii on parking islands.

RESPONSE:  We believe all radius dimensions have been added.

- Dimension driving lane space between new islands on west side of property.

RESPONSE:  Dimensions have been added.

- Dimension sidewalk width.

RESPONSE:  The sidewalk dimension has been added.

- HYDROLOGY DEVELOPMENT

- Approved Conceptual Grading and Drainage Plan and a Drainage Report for DRB action on Site Plan for Building Permit of platting action.

RESPONSE:  We are submitting the conceptual grading plan concurrently with this application.

- Cross Lot Drainage Easement note specifying the beneficiary and maintenance agreement needs to be on both the Plat and the Grading & Drainage Plan.

RESPONSE:  The note regarding the cross access has been added.

- WATER UTILITY AUTHORITY

- Please note that the proposed Utility Plan indicates an onsite hydrant off of a fire line. This hydrant is to be considered private and painted safety orange.

RESPONSE:  The hydrant is called out to be painted safety orange.

- Availability Statement #170102 was issued for this site January 31, 2017. The requirements outlined in that statement have since been expired.

RESPONSE:  An extension letter to the original Availability Statement has been provided with the submittal.

- As a condition of approval of this building permit please execute an Availability Statement for the new development. Requests can be made at the link below:

http://www.abcwua.org/Availability_Statements.aspx

RESPONSE:  The Availability Statement and the Extension Letter are included with this submittal.

- Requests shall include a City Fire Marshal Approved Fire 1 Plan and a zone map showing the site location.

RESPONSE:  The approved Fire 1 Plan is included with this submittal.

- SOLID WASTE MANAGEMENT DEPARMENT

- All new/proposed refuse enclosures built to COA minimum requirements, must note/include the 4” minimum sanitary drain on enclosure details, for all/any food services. As noted on Pg. L1, the Chinese Pistache located on both North center islands, SW corner, NE corner, and East side island all create a hindrance for refuse truck access/exit. Please plant something with a smaller canopy.

RESPONSE:  The Chinese Pistache Trees have been changed to Red Buds.

- ALBUQUERQUE METROPOLITAN ARROYO FLOOD CONTROL AUTHORITY

The existing AMAFCA Easement as shown on the plans is no longer required by AMAFCA. It is recommended to quitclaim this to unencumber this property otherwise an Encroachment Permit will be required through the AMAFCA Board.

RESPONSE:  The recorded encroachment agreements; one for each lot, are included with this submittal.

- PUBLIC SERVICE COMPANY OF NEW MEXICO

- An existing electric overhead distribution line is located along the southern boundary of the subject property. It is the applicant’s obligation to abide by any conditions of terms of these easements. It is necessary for the developer to contact the PNM New Service Delivery Department to coordinate electric service regarding this project.

Contact:

Andrew Gurule, PNM Service Center, 4201 Edith Boulevard NE, Albuquerque, NM 87107, Phone: (505) 241-0589

RESPONSE:  We will coordinate with PNM as required.

- Ground-mounted equipment screening will be designed to allow for access to utility facilities. All screening and vegetation surrounding ground-mounted transformers and utility pads are to allow 10-feet of clearance in front of the equipment door and 5-6 feet of clearance on the remaining 3 sides for safe operation, maintenance, and repair purposes. Refer to the PNM Electric Service Guide at www.pnm.com for specifications.

RESPONSE:  We will coordinate new service with PNM as required.

- NEW MEXICO DEPARTMENT OF TRANSPORTATION (NMDOT)

- The NMDOT is requiring the owner complete the State Access Management Manual’s Site Threshold Assessment (STH) and schedule an appointment with Nancy Perea or Margaret Haynes to discuss this development’s potential impacts on NM 423. NMDOT is requesting that due to the proximity of signalized intersections of Louisiana & NM 423 and Wyoming & NM 423, future signals at the intersections of Holly & Louisiana and Holly & Wyoming and NOT recommended in the future.

RESPONSE:  After further correspondence with Margaret Haynes, the NMDOT is not requesting any additional analysis or studies.  A copy of her email is included with this submittal.

- The Site Development Plan shall comply with the General Regulations of the Zoning Code, the La Cueva Sector Plan Design Regulations (Section 5.4.6 of the plan), the Subdivision Ordinance, and all other applicable design regulations, except as specifically approved by the EPC.

RESPONSE:  The Site Development Plan will comply accordingly.

We believe we have addressed all Conditions of Approval from the Environmental Planning Commission and hereby request approval from the Development Review Board.  Please feel free to call if you have any further questions or comments concerning the revised plans.

Respectfully submitted,

WOOTEN ENGINEERING

Jeffrey T. Wooten, P.E.

Owner