**Development Review Board (DRB)**

**Review Comments**

**Utility Development Section**

**Reviewer: Kristopher Cadena, P.E.**

**Phone: 505.289.3301**

|  |  |  |
| --- | --- | --- |
| **DRB Project No:** **PR-2019-001579** | **Date:** **01/22/20** | **Item No:****#4** |
| **Zone Atlas Page:****J-19** | **Legal Description: Lot(s)** PARCEL A-1-A-1-B SUBD PLAT TRS A-1-A-1-A & A- 1-A-1-B WINROCK CENTER ADDN, PARCEL A-2 AND A-3 PLAT OF PARCELS A-1 THRU A-3 & PARCEL C-2A WINROCK CENTER ADDN + PARCEL C-2A1 SUBD PLAT PARCEL C-2A1 & C-2A2 WINROCK CENTER ADDN, PARCEL E1A WINROCK CENTER ADDITION, PARCEL D1A WINROCK CENTER ADDN REPLAT OF PARCEL D1 WINROCK CENTER ADDN AND PARCEL A-1-A-1-A-1-A WINROCK CENTER ADDITION**Location:** 2100 LOUISIANA BLVD NE |
| **Request For:** **SI-2019-00355** – SITE PLAN AMENDMENT**SI-2019-00354** – SITE PLAN |
|  |

**ABCWUA Comment:**

**Please provide written description of how the following comments were addressed with the next submittal.**

1. **SI-2019-00355** – SITE PLAN AMENDMENT
	1. No objection.
2. **SI-2019-00354** – SITE PLAN
	1. No objection.
3. For information only.
	1. Availability statement #190915 has been issued and provides the conditions for service.
	2. A public waterline easement is required for the proposed water meter. A paper easement can be used and shall be coordinated prior to service.