|  |  |  |  |
| --- | --- | --- | --- |
| DRB Project Number: | 2019-002046 | Hearing Date: | **1-29-2020** |
| Project: | SWMD Admin & Maintain, Edith | Agenda Item No: | **4** |

|  |  |  |  |
| --- | --- | --- | --- |
| Sketch Plat | Minor Preliminary / ….Final Plat | Preliminary Plat | Final Plat |
| Temp Sidewalk ….Deferral | Sidewalk ….Waiver/Variance | Site Plan | Bulk Land Plat |
| SIA Extension | DPM Variance | Vacation of Public ….Easement | Vacation of Public ….Right of Way |

**ENGINEERING COMMENTS:**

No New Submittal. Comments from 7-31-2019:

* An approved Conceptual G&D Plan is required. The last review was completed 5/28/2019 with no response yet.
* It appears that right of way dedication is needed along Rankin Rd. to contain the new C&G and Sidewalk. Please show the dedication on the Site Plan and on a Plat.
* Please provide a typical section of Rankin Road and include dimensions from the face of curb and sidewalk to the new right of way line. Also provide a typical section of the slope/retaining wall at the west end of the Rankin Rd frontage showing a stable slope between the sidewalk and parking lot.
* A plat is required to consolidate the lots, therefore, cross lot drainage easements won’t be required.
* Please provide an Infrastructure list and include the drainage improvements along Rankin Rd. on the list.
* Also include an Engineer’s Certification prior to Certificate of Occupancy as a line item on the IL.

**RESOLUTION/COMMENTS:**

Parks & Rec:

Water:

Transportation:

Planning:

Code: