|  |  |  |  |
| --- | --- | --- | --- |
| DRB Project Number: | 2019-002184 | Hearing Date: | **1-29-20** |
| Project: | Guardian Storage Juan Tabo & Osuna | Agenda Item No: | **8** |

|  |  |  |  |
| --- | --- | --- | --- |
| Sketch Plat | Minor Preliminary / ….Final Plat | Preliminary Plat | Final Plat |
| Temp Sidewalk ….Deferral | Sidewalk ….Waiver/Variance | Site Plan | Bulk Land Plat |
| 2 YEAR SIA Extension | DPM Variance | Vacation of Public ….Easement | Vacation of Public ….Right of Way |

**ENGINEERING COMMENTS:**

* Hydrology has an approved conceptual grading and drainage plan with Engineer’s stamp dates: 12/20/19 & 1/9/20.
* This plan needs to be included in the Site Plan; if the plan has been modified since, than it will need to be resubmitted to Hydrology for re-approval.
* No objection to the infrastructure list.
* No objection to the plat.

**RESOLUTION/COMMENTS:**

Code:

Parks & Rec:

Water:

Transportation:

Planning: