**Development Review Board (DRB)**

**Review Comments**

**Utility Development Section**

**Reviewer: Kristopher Cadena, P.E.**

**Phone: 505.289.3301**

|  |  |  |
| --- | --- | --- |
| **DRB Project No:**  **PR-2019-002184** | **Date:**  **01/29/20** | **Item No:**  **#8** |
| **Zone Atlas Page:**  **F-21** | **Legal Description: Lot(s)** TR G-1 PLAT OF TRACTS F-1 & G-1, ACADEMY PLACE SUBDIVISION  **Location:** 4909 JUAN TABO BLVD NE between OSUNA RD and MONTGOMERY BLVD | |
| **Request For:**  **SI-2019-00379** – SITE PLAN  **SD-2020-00027** – PRELIMINARY/FINAL PLAT | | |
|  | | |

**ABCWUA Comment:**

**Please provide written description of how the following comments were addressed with the next submittal.**

1. **SI-2019-00379** – SITE PLAN
   1. Label irrigation meter on infrastructure list so it is understood that this is not the domestic meter.
   2. For information only.
      1. Availability statement #190317 provides the conditions for service.
2. **SD-2020-00027** – PRELIMINARY/FINAL PLAT
   1. No objection.