|  |  |  |  |
| --- | --- | --- | --- |
| DRB Project Number: | 2019-002332 | Hearing Date: | **1-15-20** |
| Project: | 2743 Carson Rd NW | Agenda Item No: | **12** |

|  |  |  |  |
| --- | --- | --- | --- |
| Sketch Plat | Minor Preliminary / ….Final Plat | Preliminary Plat | Final Plat |
| Temp Sidewalk ….Deferral | Sidewalk ….Waiver/Variance | Site Plan | Bulk Land Plat |
| 2 YEAR SIA Extension | DPM Variance | Vacation of Public ….Easement | Vacation of Public ….Right of Way |

**ENGINEERING COMMENTS:**

* An approved Grading and Drainage Plan is required.
* Onsite ponding areas must be identified and shown on the plat as drainage easements using the standard plat note for drainage easements

**RESOLUTION/COMMENTS:**

Code:

Parks & Rec:

Water:

Transportation:

Planning: