DRB Project Number: 2019-002379 AGENDA ITEM NO: 09

700 Tijeras Ave. NW

SUBJECT: Preliminary/Final Plat

ENGINEERING COMMENTS:

1. Transportation has no objection to the approval of the plat.
2. If future development is not going to be submitted to DRB, a TCL (Traffic Circulation Layout) will be required before building permit.
3. Off-Street Parking requirements are not required per the IDO since the site is located within the designated downtown area. However, as part of TCL requirements, ADA parking access must be provided to the proposed tracts, and details of this can be worked out during the TCL approval process.

\*Please remember to email me directly with an electronic copy of all supplemental submittal documents.

Disclaimer: The comments provided are based upon the information received from the applicant. If new or revised information is submitted, additional comments may be provided by Transportation Development.

FROM: Jeanne Wolfenbarger, P.E. DATE: January 8, 2020

 Transportation Development

 505-924-3991 or jwolfenbarger@cabq.gov

ACTION:

APPROVED \_\_; DENIED \_\_; DEFERRED \_\_; COMMENTS PROVIDED \_\_; WITHDRAWN \_\_

DELEGATED: TO: (TRANS) (HYD) (WUA) (PRKS) (CE) (PLNG)