**Development Review Board (DRB)**

**Review Comments**

**Utility Development Section**

**Reviewer: Kristopher Cadena, P.E.**

**Phone: 505.289.3301**

|  |  |  |
| --- | --- | --- |
| **DRB Project No:**  **PR-2019-002598** | **Date:**  **01/29/20** | **Item No:**  **#13** |
| **Zone Atlas Page:**  **F-11** | **Legal Description: Lot(s)** LOT H-1-A-1, LA LUZ DEL OESTE, UNIT 4  **Location:** COSTA ALMERIA DR NW between SEVILLA AVE NW and MONTANO RD NW | |
| **Request For:**  **PS-2020-00008** – SKETCH PLAT | | |
|  | | |

**ABCWUA Comment:**

**Please provide written description of how the following comments were addressed with the next submittal.**

1. Provide additional 20’ waterline easement that connects the proposed 49’ pubic waterline and sanitary sewer easement to the existing waterline easement E1 to facilitate a future looped line, if ever needed.
2. Records indicate an existing 6” public sanitary sewer along the east side of proposed Lot H-1-A-1. Please confirm with 811 as there may be a need for an easement. Internal coordination will take place to confirm if it is indeed public.