|  |  |  |  |
| --- | --- | --- | --- |
| DRB Project Number: | 2019-002677 | Hearing Date: | **1-8-20** |
| Project: | Carlisle Crossing Plat | Agenda Item No: | **14** |

|  |  |  |  |
| --- | --- | --- | --- |
| [x]  Sketch Plat | [ ]  Minor Preliminary / ….Final Plat | [ ]  Preliminary Plat | [ ]  Final Plat |
| [ ]  Temp Sidewalk ….Deferral | [ ]  Sidewalk ….Waiver/Variance | [ ] Site Plan for Bldg. Permit[ ]  Site Plan for Subdivision | [ ]  Bulk Land Plat |
| [ ]  SIA Extension  | [ ]  DPM Variance  | [ ]  Vacation of Public ….Easement | [ ]  Vacation of Public ….Right of Way |

**ENGINEERING COMMENTS:**

* Hydrology has an approved grading plan with Engineers stamp date: 12-3-19 and has no objection to the plat.

**RESOLUTION/COMMENTS:**

Parks & Rec.:

Code:

Water:

Transportation:

Planning: