DRB Project Number: 2019-003076 AGENDA ITEM NO: 1

Storage Facility

SUBJECT: Site Plan

ENGINEERING COMMENTS:

1. Submit Sheet A1.1 as part of the site plan set. (This contains sidewalk and ramp details.)
2. There is a pedestrian connection to Signal Avenue right-of-way from the center of the building, but there is no gate. Please clarify intent.
3. Shared easement is to be recorded.

Disclaimer: The comments provided are based upon the information received from the applicant. If new or revised information is submitted, additional comments may be provided by Transportation Development.

FROM: Jeanne Wolfenbarger, P.E. DATE: January 15, 2020

Transportation Development

505-924-3991 or [jwolfenbarger@cabq.gov](mailto:jwolfenbarger@cabq.gov)

ACTION:

APPROVED \_\_; DENIED \_\_; DEFERRED \_\_; COMMENTS PROVIDED \_\_; WITHDRAWN \_\_

DELEGATED: TO: (TRANS) (HYD) (WUA) (PRKS) (CE) (PLNG)