|  |  |  |  |
| --- | --- | --- | --- |
| DRB Project Number: | 2019-003077 | Hearing Date: | **1-15-20** |
| Project: | Element Hotel | Agenda Item No: | **7** |

|  |  |  |  |
| --- | --- | --- | --- |
| [ ]  Sketch Plat | [ ]  Minor Preliminary / ….Final Plat | [ ]  Preliminary Plat | [ ]  Final Plat |
| [ ]  Temp Sidewalk ….Deferral | [ ]  Sidewalk ….Waiver/Variance | [x] Site Plan for Bldg. Permit[ ]  Site Plan for Subdivision | [ ]  Bulk Land Plat |
| [ ]  IIA Extension  | [ ]  DPM Variance  | [ ]  Vacation of Public ….Easement | [ ]  Vacation of Public ….Right of Way |

**ENGINEERING COMMENTS:**

* Hydrology has an approved conceptual grading and drainage plan with Engineer’s stamp date: 11/7/19.
* Supplemental drainage information, per the City Engineer, is required.

**RESOLUTION/COMMENTS:**

Parks & Rec:

Water:

Transportation:

Planning:

Code: