**Development Review Board (DRB)**

**Review Comments**

**Utility Development Section**

**Reviewer: Kristopher Cadena, P.E.**

**Phone: 505.289.3301**

|  |  |  |
| --- | --- | --- |
| **DRB Project No:**  **PR-2019-003223** | **Date:**  **01/08/2020** | **Item No:**  **#17** |
| **Zone Atlas Page:**  **J-12** | **Legal Description: LT C PLAT OF LOTS A, B & C LANDS OF REGINA AVILA & MARY LUCERO CONT .3226 AC & MRGCD MAP 39 TRACT 133B1A2 CONT .0799 AC**  **Location: 509 & 517 47TH ST NW** | |
| **Request For:**  **PS-2019-00133 - SKETCH PLAT** | | |
|  | | |

**ABCWUA Comment:**

**Please provide written description of how the following comments were addressed with the next submittal.**

1. Please include a private water and sanitary sewer easement along the northern property line for the existing Lot B to the west as the existing utility easement is not clear if water and sanitary sewer services are allowed.