**Development Review Board (DRB)**

**Review Comments**

**Utility Development Section**

**Reviewer: Kristopher Cadena, P.E.**

**Phone: 505.289.3301**

|  |  |  |
| --- | --- | --- |
| **DRB Project No:** **PR-2020-004771** | **Date:** **01/06/21** | **Item No:****#3** |
| **Zone Atlas Page:****L-14** | **Legal Description: Lot(s) 1 BLOCK 1, GUTIERREZ ADDITION****Location: 1407 4th ST SW between BELL AVE SW and BARELAS RD SW** |
| **Request For:** **SD-2020-00211 – VACATION OF PUBLIC RIGHT-OF-WAY** |
|  |

**ABCWUA Comment:**

**Please provide written description of how the following comments were addressed with the next submittal.**

1. There is an existing public sanitary sewer line very close to the structure near the proposed vacation.
2. Please acquire line spots and provide an exhibit that includes this infrastructure in relation to the proposed vacation. A public sanitary sewer easement may be required.