**Development Review Board (DRB)**

**Review Comments**

**Utility Development Section**

**Reviewer: Kristopher Cadena, P.E.**

**Phone: 505.289.3301**

|  |  |  |
| --- | --- | --- |
| **DRB Project No:**  **PR-2021-005238** | **Date:**  **03/31/21** | **Item No:**  **#28** |
| **Zone Atlas Page:**  **B-12** | **Legal Description: Lot(s) LOT 9 BLOCK 48, KNOLLS OF PARADISE**  **Location: 4632 CACTUS AVE NW** | |
| **Request For:**  **PS-2021-00041 – SKETCH PLAT** | | |
|  | | |

**ABCWUA Comment:**

**Please provide written description of how the following comments were addressed with the next submittal.**

1. No objection to the lot consolidation or merger.
2. There is no opposition to using the existing sewer lateral on the currently vacant lot.
3. If there is a water service that will not be utilized, that service must be properly removed and the line capped as a condition for service.
4. This property is outside the adopted water service area. A service connection agreement is required if a new service is desired. This requirement is not applicable if there are to be no changes aside from using the previously installed sewer lateral to the currently vacant lot.