September 5, 2012

D. Mark Goodwin, P.E.			mark@goodwinengineers.com

Mark Goodwin & Associates, P.A.

P.O. Box 90606

Albuquerque, NM 87199

## RE:	Saltillo Unit II, W.O. # 773481, (A-10/D007)

Engineers Certification - Release of Financial Guaranty—Unaccepted

Engineers Stamp dated 01/17/07

Engineers Certification dated 08-17-12

Dear Mr. Goodwin,

Based upon your Engineer’s Certification submitted on 08/17/2012, the above referenced plan is not adequate for Grading and Drainage Certification for Release of Financial Guaranty for the following reasons:

- Please remove the plywood covering the inlet on the north end of Pinzon Street and provide a detail for the wall section in this area.

- Please employ a better BMP for sediment control.

- Show the swale/berm that directs drainage away from the wall west of the inlet discussed above.

If you have any questions, you can contact me at 924-3986.

Sincerely,

Curtis A. Cherne, P.E.

Principal Engineer--Hydrology,

Development and Building Services

C:	Marilyn Maldonado, COA# 773481

File