March 26, 2014

Richard J. Berry, Mayor

G. Robert Adams, P.E.

Attn:  Perry Hassell

Adams Engineering

910 South Kimball Avenue

Southlake, Texas  76092

RE:	McDonalds – McMahon Marketplace			       File:  A11–D011B

- 5700 McMahon Blvd. NW

Grading & Drainage Plan for Building Permit and SO-19      PE Stamp: 3/20/14

Dear Mr. Adams,

Based upon the information provided in your submittal received March 24, 2014, the above referenced plan is approved for Building Permit and SO-19.

Please attach a copy of this approved plan to the Building Permit construction sets prior to sign-off by Hydrology.

A separate Excavation/Barricading Permit is required for SO-19 construction within City ROW.  A copy of this approval letter must be on hand when applying for the permit.  To obtain a C.O., the storm drain work in the City ROW must be inspected and accepted.  Please contact Jason Rodriguez, 857-8074, to schedule an inspection.

Prior to Certificate of Occupancy release, an Engineer’s Certification of Grading on this site, will be required per the DPM checklist.

If you have questions, please email me at grolson@cabq.gov  or phone 505-924-3994.

Sincerely,

Gregory R. Olson, P.E.

Senior Engineer

Orig:	Drainage file  A11-D011B

c.pdf	Addressee via Email: Rob.Adams@Adams-Engineering.com

cc	Perry Hassell;  Perry.Hassell@Adams-Engineering.com

eCopy:	Antoinette Baldonado, Excavation and Barricading, ABaldonado@cabq.gov

Jason Rodriguez, Street/Storm Drain Maintenance,  JTRodriguez@cabq.gov