PETERSON PROPERTIES, LLC

City of Albuquerque

ATTN: Mayor Timothy Keller

1 Civic Plaza NW, Albuquerque, NM 87102

# SENT VIA CERTIFIED MAIL, R.R.R., EMAIL AND HAND DELIVERED

January 13, 2023

RE: CITY OF ALBUQUERQUE ORDINANCES CHAPTER 14, ARTICLE 5

APPEAL OF NOTICE DATED DECEMBER 30, 2022 (SIC) FOR PURPORTED "VIOLATIONS FOR EROSION AND SEDIMENT CONTROL"

Greetings.

S 14-5-1-13 VARIANCES AND APPEALS; REVIEW CONSIDERATIONS, subpart is entitled "Appeals" and reads as follows: "The Mayor shall hear and decide appeals when it is alleged there is an error in any requirement, decision, or determination made by the City Engineer in the enforcement or administration of 14-5-1-1 et seq." The term "et seq" means "and what follows", so the foregoing appeal provision also applies to the remainder of the Article, including 514-5-2-11. Yesterday, my company received the enclosed letter from James D. Hughes, P.E., Principal Engineer, on behalf of the City of Albuquerque purporting to be for "Violations for Erosion and Sediment Control'. This letter is an appeal of that decision and, pursuant to the citations above, goes to you to decide.

JMD-McMahon, LLC, a New Mexico limited liability company, is the Appellant and hereby states as follows:

1- Appellant is the owner of the following property in Albuquerque, New Mexico: Lots 5-A, 6-AI, 9-A, 9-B, 9-C and 9-D of the Plat of Lots 5-A, 6-AI and 9-A thru 9-D McMahon Marketplace (being a replat of Lots 5, 6-A and 9, McMahon Marketplace) within the Town of Alameda Grant in Projected Section 2, Township 1 1 North, Range 2 East, New Mexico Principal Meridian, City of Albuquerque, Bernalillo County, New Mexico as shown on plat filed as document number 2017080064 on 8/1 8/17 in the real property records of Bernalillo County, NM

2. On January 12, 2023, Appellant received via email the enclosed letter misdated December 30, 2022, alleging the existence of " Violations for Erosion and Sediment ControP on Lots 9-B, 9-C and 9-D of Appellant's Property (the "Latest Letter').

- The Latest Letter admits that "[t]he site was inactive with no construction equipment or personnel present".

- The Latest Letter claims that there are "violations" of "Drainage Ordinance 514-5-2-11"

- Drainage Ordinance 514-5-2-11 states, in subpart (C)(2) in part as follows: "All projects will be inspected [by the City] at completion for confirmation of stabilization"

6. Construction involving lot 9-B and, peripherally, Lots 9-C and 9-D of Appellant's property concluded in early 2021. The city failed to do an inspection upon completion, although it issued certificates of shell completion and certificates of occupancy for Owner's adjacent properties and, thereby, it is clear that the city was at the site plenty. Lots 9-B, 9-C and 9-D were in stabilized condition upon completion of construction in 2021

7- Drainage Ordinance 514-5-2-11 states, in subsection (C)(l) that "Construction site inspections and quality controls shall include . . . until the site construction has been completed and the site determined as stabilized by the city." The city failed to timely inspect upon completion when the site was stabilized. The city's failure to timely inspect does not mean that the site is perpetually subject to the Drainage Ordinance. A reasonable time for inspection came and went and the city's failure to meet its obligation does not grant it an extension.

8. Accordingly, Lots 9-B, 9-C and 9-D of Owner's property ceased to be subject to inspection or compliance under Drainage Ordinance 514-5-2-11 in 2021. Nevertheless, beginning in 2022, the

1

2325 SAN PEDRO, N.E., SUITE 2-A • ALBUQUERQUE, NEW MEXICO 871 10 • (505) 884-3578 • FAX (505) 884-6793 www.PetersonProperties.net

city began inspecting, issuing fines and demanding remedies when the cited Owner's parcels had ceased to be subject to Drainage Ordinance 514-5-2-11.

- The Latest Letter references NMR12BM22 (Taco Bell 2017). Appellant does not now and has never owned the Taco Bell parcel.

- The Latest Letter states, with regard to Lots 9-B, 9-C and 9-D, that "ground cover was mostly bare dirt and tumble weeds with patches of graver. That is untrue. Most of Lot 9-B is paved.

- The current condition of Lots 9-B, 9-C and 9-D is not such that "stormwater controls will not prevent sediment and waste from entering the city's drainage system and/or leaving the construction site" as is a relevant standard for enforcement in subsection (C)(2)(a).

- Even assuming, for the case of discussion, that Owner's Lots 9-B, 9-C and 9-D had continued to be subject to Drainage Ordinance 514-5-2-11 after 2021 , the city failed to comply with its own procedures because subsection (C)(2)(1) states "If deficiencies are required to be mitigated, the owner or his/her agent shall be verbally notified with a follow-up written confirmation occurring late"'. Owner never received such verbal notification or follow-up written (Level 1) notification. City proceeded, aggressively, directly to the "2nd Level" under its self-proscribed "Escalation Process for Drainage Ordinance Violations during the Construction Phase"

13- Continuing to assume for the case of discussion that Owner's Lots 9-B, 9-C and 9-D had continued to be subject to Drainage Ordinance 514-5-2-11 after 2021 , the Appellant did "substantially comply/' with the notices received from city in late 2022; substantial compliance is the standard set forth in (C)(2)(a). City's notice dated 12/20/22, which was provided immediately before the Christmas and

New Year's holidays, cited six deficiencies. By the city's own admission, as of the Latest Letter, Appellant has remedied five of six deficiencies. That means that Owner did in fact "substantially comply?' (as required in (C)(2)(a)) and, with regard to the sixth of six, Owner provided city with notice that owner had contracted with a vendor to achieve compliance.

The foregoing facts reveal a concerted effort by the city to harass and extort, in the form of

"violation" penalties, from Appellant. As a result, the Appellant hereby demands the following relief:

- Refund of two "violation" fees previously paid, totaling $1 ,037.78 as substantiated by the enclosed receipts dated 12/21/22.

- Retraction of the Latest Letter and all similar notices dated 2022 or beyond.

Additionally, because none of Owner's property is currently in a Construction Phase, city is hereby notified by Owner that city is denied access to Owner's property for inspecting any purportedly required compliance pursuant to Drainage Ordinance 514-5-2-11. In accordance with (D)(2)(c) of that ordinance, if the city thinks it is entitled to entry for inspection, then city needs to get a "warrant or other remedy provided by law to secure entry'

Lastly, please note that the appeal provision states that this appeal is to be heard by the "Mayor" That does not mean a designee or underling. Applicant expects, in accordance with its Constitutional right of due process, to have this matter heard by YOU personally and directly. The ordinance lets you set a reasonable fee; let me know what it is and Appellant will pay it. See you soon.

Sincerely,

Dou as Peterson, Esq., Manager of JMD-McMahon, LLC, Doug@PetersonProperties.net

Cc via email:

James D. Hughes, P.E.

Mae Peterson, Esq.

James A. Peterson, Esq.

Chris Sioss

Colleen McGrath

2

1:45

# onE

ALBUQUE ROUE

@ Your transaction is complete — Thank you!

Your request for payment has been received.

An additional confirmation will be sent to your email account if it was provided with the payment.

Your Reference Number: 2022354006-31

12/21/2022 1:40:45 PM

| Total Amount: | $524.03 |
| --- | --- |
| Building Permits, Business Registrations, Code Enforcement Permits and Planning Applications 2022354006-31-1 NAME: JMD-MCMAHON, LLC DOUG PETERSON - CUI 72601601 CUSTOMER NUMBER: CU172601601 | $510.00 |
| Permit Information | $500.00 |

PERMIT NUMBER: 3-2022-02412

PERMIT DESCRIPTION: DRS014: Planning: Storm Water Quality (Site Improvement Plan) NAME: JMD-MCMAHON, LLC DOUG PETERSON - CU172601601

Permit Information	$10.00

PERMIT NUMBER: 3-2022-02412

PERMIT DESCRIPTION: TFOOI : Planning: Technology Fee Application (Site Improvement Plan) NAME: JMD-MCMAHON, LLC DOUG PETERSON - CU172601601

Mastercard Service Fee 2022354006-314	$14.03

Mastercard Credit Sale M	$510.00

CARD NUMBER:	9280

FIRST NAME: Douglas

LAST NAME: Peterson

Mastercard Service Fee Credit Sale M	$14.03

CARD NUMBER:	9280

FIRST NAME: Douglas

LAST NAME: Peterson

PAYMENT TYPE: credit

Total Amount:	$524.03

https://secure33.ipayment.com/cabq/my/0.htm? DOUBLESUBMIT1/2

1:45

Payment processing disclaimer. Set me in Workgroup Config

Powered by CORE Business Technologies

https://secure33.ipayment.com/cabq/my/0.htm? DOUBLESUBMIT2/2 1:50

## ALBUQUE ROUE

Your transaction is complete — Thank you!

Your request for payment has been received.

An additional confirmation will be sent to your email account if it was provided with the payment.

Your Reference Number: 2022354006-33

12/21/2022 1:48:17 PM

| Total Amount: | $513.75 |
| --- | --- |
| Building Permits, Business Registrations, Code Enforcement Permits and Planning Applications 2022354006-33-1 NAME: DOUG PETERSON - CU137146525 CUSTOMER NUMBER: CU137146525 | $500.00 |
| Permit Information | $500.00 |

PERMIT NUMBER: 3-2021-00885

PERMIT DESCRIPTION: PL002: Planning: Application Fee (Manual) (Site Improvement Plan) NAME: DOUG PETERSON - CU137146525

| Mastercard Service Fee 2022354006-33-3 | $13.75 |
| --- | --- |
| Mastercard Credit Sale M CARD NUMBER: 9280 FIRST NAME: Douglas LAST NAME: Peterson | $500.00 |
| Mastercard Service Fee Credit Sale M CARD NUMBER: 9280 FIRST NAME: Douglas LAST NAME: Peterson PAYMENT TYPE: credit | $13.75 |
| Total Amount: | $513.75 |

CE2022354006-33

Payment processing disclaimer. Set me in Workgroup Config

https://secure33.ipayment.com/cabq/my/0.htm? DOUBLESUBMIT1/2 1:50

Powered by CORE Business Technologies

https://secure33.ipayment.com/cabq/my/0.htm? DOUBLESUBMIT2/2

Dou Peterson

| From: | Hughes, James D. <jhughes@cabq.gov> |
| --- | --- |
| Sent: | Thursday, January 12, 2023 3:49 PM |
| To: | Chris Sioss |
| cc: | Madelyn Schauer; Rene Hartman; Jones, Curry; Esparza, David; Doug Peterson |
| Subject: | 23.01.12 ESC Notice of Violation 5 for McMahon Market place Lots 9B, 9C, and 9D 5710 McMahon Blvd NE - Al IEOIII - NMR10059B |
| Attachments: | Al 1 EOI Il Violation 5 fine 3-signed.pdf; Escalation Process for Violations_Dec2020.pdf; Al 1 EOI Il fine 3 invoice.pdf |

Mr. Sioss,

Please see attached Notice of Violation #5, the escalation process, and an invoice for fine #3 ($500). Please pay the fines and return the receipts to me showing they are paid. Here is the link to the payment page. Enter the reference number beginning with "SI". Include the dashes.

https://secure33.ipayment.com/cbtsecuretransfer cabq/cbtsecuretransfer.asmx/ProcessToken?ClientlD=CABQ&Token= c1952b46-91ac-4e45-a3db-bb2ffcf641ae

Additional penalties ($500/day) and sanctions will be added if the fines are not paid and the violations mitigated before the next City Inspection. The City will conduct a followup inspection in one week to verify compliance with the City ordinance and the CGP. onE

ALBUQUE planning

# ROUE

DOUG HUGHES, P.E., CFM, CPESC principal engineer construction SWQ

0 505.924.3420 e ihuqhes@cabq.gov cabq.qov/planninq

From: Hughes, James D.

Sent: Friday, December 30, 2022 11:25 AM

To: I chris.sioss@petersonproperties.nett <chris.sioss@petersonproperties.net>

Cc: 'Madelyn Schauer' <madelyn@inspectionsplus.com>; 'Rene Hartman' <rene@inspectionsplus.com>; 'Jones, Curry'

<jones.curry@epa.gov>; 'Esparza, David' <esparza.david@epa.gov>; 'doug@petersonproperties.netl <doug@petersonproperties.net>

Subject: 22.12.30 ESC Notice of Violation 4 for McMahon Market place Lots 9B, 9C, and 9D - 5710 McMahon Blvd NE AllE0111 - NMR10059B

Mr Sioss,

Thanks for bringing the SWPPP to the site yesterday to show that despite the lapse in coverage from the EPA, JMD McMahon LLC has a continuous record of inspection reports from Inspections Plus. Thanks for your cooperation. There has been substantial progress in mitigating the violations sent on 12/20/22 so ten days additional time will be allowed to mitigate the remaining violations without escalation or additional penalties. Please see attached Notice of Violation #4 for the remaining areas of concern, the Escalation Process, and the EPAs frequent questions. onE

ALBUQUE planning

# ROUE

DOUG HUGHES, P.E., CFM, CPESC principal engineer construction SWQ

0 505.924.3420 e ihuqhes@cabq.aov cabq.qov/planninq

From: Hughes, James D.

Sent: Tuesday, December 20, 2022 7:31 PM

To: 'doug@petersonproperties.netl <doug@petersonproperties.net>

Cc: 'Madelyn Schauerl <madelyn@inspectionsplus.com>; 'Rene Hartman' <rene@inspectionsplus.com>; 'Jones, Curry' <iones.curry@epa.gov>; 'Esparza, David' <esparza.david@epa.gov>

Subject: 22.12.20 ESC Notice of Violation 3 and fine 2 for McMahon Market place Lots 9B, 9C, and 9D - 5710 McMahon Blvd NE - AllE0111 - NMR1002NB & NMR10059B

Mr. Peterson,

Please find attached Notice of Violation 3, the Escalation Process, and an Invoice for Fine 2. Please pay both Fines 1 and 2 and return the receipts to me showing they are paid. Here is the link to the payment page. Enter the reference number beginning with t'Sl". Include the dashes.

https://secure33.ipayment.com/cbtsecuretransfer cabq/cbtsecuretransfer.asmx/ProcessToken?ClientlD=CABQ&Token= c1952b46-91ac-4e45-a3db-bb2ffcf641ae

Additional penalties ($500/day) and sanctions will be added if the fines are not paid and the violations mitigated before the next City Inspection. The City will conduct a followup inspection in one week to verify compliance with the City ordinance and the CGP.

Albuquerque's Erosion and Sediment Control (ESC) ordinance 14-5-2-11 at link https://codelibrary.amlegal.com/codes/albuquerque/latest/albuquerque nm/O-0-O-19897 requires the property owner to provide an ESC Plan and the EPA's Notice of Intent (NOI) to the city for review and approval prior to issuing construction permits and prior to any land-disturbing activity. It also requires compliance with the Construction General Permit (CGP) 2022 Construction General Permit (CGP) I US EPA. onE

ALBUQUE planning

DOUG HUGHES, P.E., CFM, CPESC principal engineer construction SWQ

0 505.924.3420 e ihuqhes@cabq.gov cabq.qov/planninq

From: Hughes, James D.

Sent: Wednesday, June 16, 2021 9:33 AM

To: 'doug@petersonproperties.net' <doug@petersonproperties.net>

Cc: 'John Wilgert <iwilger@wilger.com>; 'Betsy McLelland' <betsy@wilger.com>; 'Rene Hartman'

<rene@inspectionsplus.com>; Evans, Thomas C. <tevans@cabq.gov>; 'Jones, Curry' <iones.curry@epa.gov>; I Esparza, David' <esparza.david@epa.gov>

Subject: RE: AllE0111 - 5710 McMahon Blvd NE - Violation 2 fine 1 - NMR1002NB

Mr. Peterson,

Please find attached notice of violation #2. An invoice for $500 will be e-mailed separately. A follow-up inspection has been scheduled next week to verify compliance with the ESC Ordinance and the CGP. onE

ALBUQUE planning

## ROUE

DOUG HUGHES, P.E., CFM, CPESC principal engineer construction SWQ

0 505.924.3420 e ihuqhes@cabq.qov cabq.qov/planninq

From: Hughes, James D.

Sent: Friday, June 04, 2021 4:33 PM

To: 'doug@petersonproperties.netl <doug@petersonproperties.net>

Cc: 'John Wilger' <iwilger@wilger.com>; 'Betsy McLelland I <betsy@wilger.com>; 'Rene Hartman'

<rene@inspectionsplus.com>; Evans, Thomas C. <tevans@cabq.gov>

Subject: RE: AllE0111 - 5710 McMahon Blvd NE - Violation 1 - NMR1002NB

Mr Peterson,

Please see attached Notice of Violation of ESC Ordinance. The required mitigation is on the last page. Please provide the latest self- inspection report. A follow-up inspection has been scheduled for June 15th to verify compliance with the EPA CGP and the ESC Ordinance. Please have the SWPPP up-to-date and available at the site on that date. It should include materials, rates and dates stabilization measures are applied, and an up-to-date SWPPP map. Silt fences should be repaired and trash removed. onE

ALBUQUE planning

### AQUE

DOUG HUGHES, P.E., CFM, CPESC principal engineer construction SWQ

0 505.924.3420 e ihughes@cabq.qov cabq.qov/planninq

From: Hughes, James D.

Sent: Thursday, March 18, 2021 3:37 PM

To: 'Rene Hartman' <rene@inspectionsplus.com>

Cc: doug@petersonproperties.net; John Wilger <iwilger@wilger.com>; Betsy McLelland <betsy@wilger.com> Subject: AllE0111 - 5710 McMahon Blvd NE - NMR1002NB

Renee,

The pictures are from 5710 McMahon Blvd same as the CO you sent. I had the wrong address on the report, and changed it (see attached). Whoever told you that stuff about the CO is wrong. They are probably confusing SWQ inspections with the Building Inspectors. SWQ never signs off on cos, we are not part of that process. Is your client Doug Peterson? That is the point of contact on the NOI (attached). onE

ALBUQUE planning

## RQUE

DOUG HUGHES, P.E., CFM, CPESC principal engineer construction SWQ

0 505.924.3420 e ihuahes@cabq.gov cabq.qov/planninq

From: Rene Hartman [mailto:rene@inspectionsplus.coml

Sent: Thursday, March 18, 2021 2:52 PM

To: Hughes, James D. <ihughes@cabq.gov>

Cc: doug@petersonproperties.net; John Wilger <iwilger@wilger.com>; Betsy McLelland <betsy@wilger.com> Subject: RE: Do you except this?

Doug,

The pictures you sent are not even the site location that our customer has. We have been told that you will require inspections of the site until a CO has been issued. But our customer is only required to do the shell of the building and the total outside is either landscaped or paved. The site you took pictures of is 20 to 30 blocks away from where you took pictures.

Thank you!!

Rene Hartman

Chief Administrative Officer

Inspections Plus

504 El Paraiso Rd NE, Ste. B

Albuquerque, NM 87113

505-344-9410

WWW.inspectionsplus.com

From: Hughes, James D. <ihughes@cabq.gov>

Sent: Thursday, March 18, 2021 1:54 PM

To: Rene Hartman <rene@inspectionsplus.com>

Cc: doug@petersonproperties.net; John Wilger <iwilger@wilger.com> Subject: RE: Do you except this?

Renee,

City Construction Stormwater Quality is not involved in the Certificate of Occupancy Inspection. If we were nobody would be able to occupy their buildings until all areas of land-disturbance are stabilized, with no bare spots.

Also note that the City does not hold the contractor responsible for compliance with the ESC Ordinance or the CGP, though the EPA may. Usually the contractor turns the site over to the owner/operator and the contractor can file his NOI, but that is between the owner and contractor to work out. They have probably been sharing the SWPPP and both operators must keep records for 3 years after the NOT is filed with the EPA.

Mr. Peterson,

Please find attached the inspection report and photos from today's inspection. Please provide the latest self-inspection report and keep up self-inspections and BMP maintenance until final Stabilization meets the Criteria in CGP 2.2.14. Today's inspection also shows the need for Posting NPDES coverage, minor BMP repair, and stabilization per 2.2.14. onE

ALBUQUE planning

# ROUE

DOUG HUGHES, P.E., CFM, CPESC principal engineer construction SWQ

0 505.924.3420 e ihughes@cabq.gov cabq.qov/planninq

----Original Message-----

From: Rene Hartman [mailto:rene@inspectionsplus.com]

Sent: Wednesday, March 17, 2021 11:38 AM To: Hughes, James D. <ihughes@cabq.gov> Subject: Do you except this?

External

Doug,

We have a contractor that was issued this as the CO for their portion of the project. Do you consider this the Certificate of Occupancy for them when they are only doing the outside of the project? We need to know if you will except this so that if they stop inspections there will be no issues with your department.

Thank you!!

Rene Hartman

Chief Administrative Officer

Inspections Plus

504 El Paraiso Rd NE, Ste. B

Albuquerque, NM 87113

505-344-9410 https://hes32-ctp.trendmicro.com:443/wis/clicktime/v1/query?url=WWW.inspectionsplus.com&umid=38ceObcb-524f-

f198b858ecf10bd1e030ebe31a8219cf052a873e

This message has been analyzed by Deep Discovery Email Inspector.

This message has been analyzed by Deep Discovery Email Inspector.

Alan Varela, Director	Mayor Timothy M. Keller

December 30, 2022

JMD-McMahon, LLC — Doug Peterson doug@petersonproperties.net

DA — Chris Sioss chris.sioss@petersonproperties.net

Site: McMahon Market Place Lots 9B, 9C, & 91) - 5750 McMahon Blvd NW AllE0111- NMR10059

Re: Drainage Ordinance (514-5-2-11) Violations for Erosion and Sediment Control

At a followup inspection on 1/9/23, there was still no progress in resetting and replacing the Silt Fence that was required in previous notices sent on 12/20/22 and 12/30/22. The total remaining area of disturbance was about 2.2 acres on lots 9B, 9C, and 9D, as shown on the Google Earth photo dated 7/6/22 and inspection photos below. The site was inactive with no construction equipment or personnel present. The ground cover was mostly bare dirt and tumble weeds with patches of gravel. The tumble weeds are annual plants, so they don't satisfy the Final

Stabilization Criteria CGP 2.2.14, which requires perineal vegetation. The following violation remained on 1/9/23.

BMPs — Most of the silt fence is falling down and still needs reset.

5750 Mg,

Alan Varela, Director	Mayor Timothy M. Keller

## $10624

Albuqcterqüe NM 87114

United States

Alan Varela, Director	Mayor Timothy M. Keller

Background

This site is part of a 12 acre "Common Plan of Development or Sale" called McMahon Market Place started by Armstrong Development on 8/2011 according to the following Google Earth aerial photo (below). The area of the Common Plan of Development may have been reduced to 10 acres in 2012, when the entire site appears to have been stabilized for a brief period of time.

| 8/2011 •Comrilon Pian cl | Sale' |  |
| --- | --- | --- |
| e arth |  |  |

Legend

Featu;re 1

Starbucks

Google Earth shows the "Commencement of Construction Activities" on the south portion of this site in the aerial photo dated 2/19/2014 (below) which hasn't satisfied the Final Stabilization Criteria, CGP 2.2.14, in the 8 years since then.

2/2014

Comencement Con"tructron

Alan Varela, Director	Mayor Timothy M. Keller

Property records today show about 9 acres are owned by Doug Peterson, Esq. Managing Member of JMD Partnership, LLC, Managing Member of JMD-McMahon, LLC with about 2.2 acres of bare dirt remaining according to Google Earth 7/6/2022, below.

The City of Albuquerque first issued an ESC permit for this site to JMD-McMahon, LLC in 2014. The first NOIs were for Pen-nit NMR12BL48 (McDonalds 2016) and NMR12BM22 (Taco Bell 2017).

Permit # NMRI OOOWQ was certified on 11/08/2017 by Doug Peterson for JMD-McMahon,

LLC for Lots 9C and 9D. The first Notice of Violation (NOV) was sent 1/29/2018 for Concrete

Washout, BMPs missing, and Oil Spill in association with Lots 9C and 9D, Hydrotrans #

Al 1 EOI 1 G. Then two more NOVs were sent on 6/4/21 and 6/16/21 for Posting, S WPPP, Reports, and BMPs in association with Lots 9A, 9B, 9C, and 9D, Hydrotrans # Al 1 EOI 11. A $500 Fine was also sent on 6/16/21 but never paid.

Permit # NMR 1002NB was certified on 6/30/21 by Doug Peterson for JMD-McMahon, LLC for the McMahon Lots, presumably 9B, 9C, and 9D, with an estimated area of disturbance of 2.5 acres. Coverage under NMRIOOOWQ and NMR 1002NB expired on 2/16/2022 before the Final Stabilization Criteria of CGP 2.2.14 was satisfied.

Permit # NMRI 0059B was certified on 12/01/2022 by Doug Peterson manager of JMDMcMahon, LLC for "McMahon Market Place Bldg. NW" with an estimated area to be disturbed of 1 acre. That NOI was submitted to the City of Albuquerque SWQ Section of the Planning Department with a SWPPP map showing only Lot 9B, even though Lots 9C and 9D are also still disturbed and owned by JMD-McMahon, LLC.

## ROUE

Alan Varela, Director	Mayor Timothy M. Keller

Definitions

"Commencement of Construction Activities" — the initial disturbance of soils (or 'breaking ground') associated with clearing, grading, or excavating activities or other construction-related activities (e.g., grubbing; stockpiling of fill material; placement of raw materials at the site).

"Common Plan of Development or Sale" — A contiguous area where multiple separate and distinct construction activities may be taking place at different times on different schedules under one common plan. The "common plan" of development or sale is broadly defined as any announcement or piece of documentation (including a sign, public notice or hearing, sales pitch, advertisement, drawing, permit application, zoning request, computer design, etc.) or physical demarcation (including boundary signs, lot stakes, surveyor markings, etc.) indicating construction activities may occur on a specific plot.

Albuquerque's Erosion and Sediment Control (ESC) ordinance 14-5-2-11 at link https://codelibrary.amlegal.com/codes/albuquerque/latest/albuquerque nm/0-0-0-19897 requires the property owner to provide an ESC Plan and the EPA's Notice of Intent (NOI) to the city for review and approval prior to issuing construction permits and prior to any land-disturbing activity. It also requires compliance with the Construction General Permit (CGP) 2022 Construction General Permit (CGP) I US EPA.

Required Mitigation:

1. Ensure that all stonnwater controls (BMPs), including the silt fence, are installed and maintained and remain in effective operating condition during permit coverage per CGP 2.1.4. If at any time you find that a stormwater control needs routine maintenance, you must immediately initiate the needed maintenance work and complete such work by the close of the next business day. When the problem requires a new or replacement control or significant repair, install the new or modified control and make it operational, or complete the repair, by no later than seven (7) calendar days from the time of discovery per CGP 5.2.1

Alan Varela, Director Mayor Timothy M. Keller History of Violations and Escalation Process:

Notice of the following types of violations was sent on the dates noted below:

- NOI- 12/20/22 (Level 2)

- Posting- 6/4/21, 6/16/21, 12/20/22 (Level 3)

- BMPs- 1/29/18 , 6/4/21, 6/16/21, 12/20/22, 12/30/22, 1/12/23(Level 3)

- SWPPP- 1/29/18 , 6/4/21, 6/16/21, 12/20/22, 12/30/22(Level 3)

- Waste - 6/4/21, 6/16/21

- Washout - 1/29/18 , 12/20/22 (Level 3)

- Stabilization - 6/4/21, 6/16/22, 12/20/22 (Level 3)

The City Escalation Process (attached) describes four levels of escalation based on the number of repeats and/or recalcitrant violations of each type.

Per the previous Violation letter dated 12/30/2022, the City is assessing a fine of $500, and the non-compliance is being reported to the EPA. This fine is for one day, 1/12/23.

Additional days may be added if the violation is not mitigated within seven days. Progressive enforcement escalation procedures will be used and strictly enforced for recalcitrant or repeat offenders.

If you have any questions, you can contact me at 924-3420 or jhughes@cabq.gov .

Sincerely,

James D Hughes

James D. Hughes, P.E.

Principal Engineer, Planning Dept. Development and Review Services

Escalation Process for Drainage Ordinance Violations during the Construction Phase

Mayor Tim Keller

The City Ordinance includes several specific means of enforcing the City's regulations including but not limited to

The city will utilize sanctions andpenalties to enforce upon violations ofpermit requirements. Progressive enforcement escalation procedures will be used and strictly enforcedfor recalcitrant or repeat offenders.

The four levels of escalation apply to each specific violation type (e.g. sediment in the street, BMP maintenance, waste, washout, self-inspection reports, posting, expired permit, stabilization, etc.. .). Each recalcitrant or repeat offence for a particular violation type results in escalation to the next level.

- st Level - Optional Informal Warning w/o Fine (not required by Ordinance) w

• E-mail with explanation of violation(s) with a corrective action date. Standard mitigation time is seven days. Additional time may be given at the City's discretion.

This step is skipped if land disturbance began without City approval and/or without BMPs, the

- nd Level - Formal Warning w/o Fine — (1 st) Notice of Violation (NOV) Letter o A NOV letter will be sent to the property owner with an explanation of violation(s), the required mitigation, and an allowance of 7 days (min.) to mitigate. The NOV letter will state that the property owner is subject to a $500 fine/day if the violations are not mitigated within the specified time frame (escalation to 3 rd Level). Additional time to mitigate may be given at the discretion of the City.

  - Level 2 applies to the second time a particular violation type is noted during a City inspection (first repeat violation).

  - Level 2 also applies to the first time for either of the following two egregious violation types: either starting land disturbance without approval from the City or starting land disturbance without BMPs.

- rd Level — Formal Notice of Violation w/ Fine for 1 day - (2 nd & up) NOV Letter

  - A NOV letter will be sent to the property owner with an explanation of violation(s), the required mitigation, and an allowance of 7 days (min.) to mitigate. A fine will be issued to the property owner(s) per the Penalty provisions of 14-5-2-1 et seq. typically $500 for the first day of violation. Failure to pay the fine may result in additional sanctions. The NOV letter will state that the property owner is subject to a $500 fine/day if the violations are not mitigated within the specified time frame (escalation to 4th Level). Additional time may be given at the discretion of the City.

4th Level — Formal Notice of Violation w/ Fine for each new day of violation since the last day of fine. 	A NOV letter will be sent to the property owner with an explanation of violation(s), the required mitigation, and an allowance of 7 days (min.) to mitigate. A fine will be issued to the property owner(s) per the Penalty provisions of 14-5-2-1 et seq. typically $500/day of violation since the last day of fine. The NOV letter will state that the property owner is subject to a $500 fine/day and additional sanctions if the violations are not mitigated and the fine paid within the specified time frame.

  - The EPA is typically notified when NOVs with fines are sent.

  - Additional time is typically not granted unless the owner is cooperative and makes significant progress mitigating the violations within the specified time frame (3 out of 4 violations mitigated).

Revised December 1 8, 2020

CITY OF ALBUQUERQUE

INVOICE

JMD-MCMAHON, LLC DOUG PETERSON	2325 SAN PEDRO NE SUITE 2A

Reference NO: Sl-2023-00130

Customer NO: CU-172601601

| Date | Description | Amount |
| --- | --- | --- |
| 1/12/23 | 2% Technology Fee | $10.00 |
| 1/12/23 | Storm Water Quality Fine | $500.00 |

Due Date: 1/12/23	Total due for this invoice:	$510.00

Options to pay your Invoice:

- Online with a credit card: http://posse.cabq.gov/posse/pub/lms/Default.aspx

- In person: Plaza Del Sol, 600 2nd St. NW, Albuquerque, NM 87102

PLEASE RETURN THE BOTTOM PORTION OF THIS INVOICE NOTICE WITH PAYMENT

Date:	1/12/23

City of Albuquerque	Amount Due:	$510.00

PO Box 1293	Reference NO:	Sl-2023-00130

Albuquerque, NM 87103	Code:	130

Payment

Customer NO:	CU-172601601

JMD-MCMAHON, LLC DOUG

PETERSON

2325 SAN PEDRO NE SUITE 2A

ALBUQUERQUE , NM 87110

1 30 OOOOS12023001 30000993551 1 7392801 900000000000051 000CU1 72601 601