September 27, 2024

Fred C. Arfman, P.E.

Isaacson & Arfman, P.A.

128 Monroe St. N.E

Albuquerque, NM 87108

RE:	McMahon Market Place – Lot 9D

Grading & Drainage Plan

Engineer’s Stamp Date:  09/09/2024

Hydrology File:  A11D011K

Dear Mr. Arfman:

Based upon the information provided in your submittal received 09/10/2024, the Grading & Drainage Plan is approved for Building Permit and Grading Permit.  Please attach a copy of this approved plan in the construction sets for Building Permit processing along with a copy of this letter.

PRIOR TO CERTIFICATE OF OCCUPANCY:

- Engineer’s Certification, per the DPM Part 6-14 (F): Engineer's Certification Checklist For Non-Subdivision is required.

- Please pay the Payment-in-Lieu of $ 8,648.00 by emailing the attached approved Waiver Application from Stormwater Quality Volume Management On-site to PLNDRS@cabg.gov. Once this is received, a receipt will then be produced and email back.  Follow the instructions on the bottom of the form and pay it at the Treasury in Plaza de Sol.  Once paid, please provide proof of payment.

As a reminder, if the project total area of disturbance (including the staging area and any work within the adjacent Right-of-Way) is 1 acre or more, then an Erosion and Sediment Control (ESC) Plan and Owner’s certified Notice of Intent (NOI) is required to be submitted to the Stormwater Quality Engineer (Dough Hughes, PE, jhughes@cabq.gov, 505-924-3420) 14 days prior to any earth disturbance.

If you have any questions, please contact me at 505-924-3362 or richardmartinez@cabq.gov.

Sincerely,

Richard Martinez, P.E.

Senior Engineer, Hydrology

Planning Department