November 6, 2012

Mike Balaskovits, P.E.

Bohannan Huston, Inc.

7500 Jefferson NE

Albuquerque, NM 87109

Re:	Liberty Dialysis-Rio Rancho, Grading and Drainage Plan

Engineer’s Stamp Date 11/05/2012 (A11/D013)

Dear Mr. Balaskovits,

Based upon the information provided in your submittal received November 5, 2012, the above referenced plan is approved for Building Permit and SO-19 Permit.

A separate SO-19 permit is required for construction within City ROW.  A copy of this approval letter must be on hand when applying for the excavation/barricading permit.  The work in the City ROW must be inspected and accepted.  Contractor must contact Jason Rodriquez at 235-8016 and Construction Coordination at 924-3416 to schedule an inspection.

This project requires a National Pollutant Discharge Elimination System (NPDES) permit for storm water discharge for disturbing one acre or more and a Topsoil Disturbance Permit for disturbing ¾ of an acre or more.  Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology.  Prior to Certificate of Occupancy release, Engineer Certification per the DPM checklist will be required.

Albuquerque’s MS4 Permit became effective March 1st, 2012.  Grading and Drainage Plans and Drainage Reports will have to comply with the requirements of the new permit (http://www.cabq.gov/planning/landcoord/Hydrology.html).

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	e-mail