September 22, 2016

David Soule, P.E.

Rio Grande Engineering

9171 Glendale Ave NE

Albuquerque, NM 87122

Re:	Guardian Storage- Summer Ridge and Unser

Erosion and Sediment Control Plan

Engineer’s Stamp Date 8-8-16 (A11E015)

Dear Mr. Soule,

Based upon the information provided in your submittal received 9-13-16 the above referenced plan is approved to be included in the SWPPP and to apply for an ESC Permit for grading and Building Permit.

Provide applicable sheets (paving, utilities) from the Work Order Construction plans so that Stormwater Quality can evaluate the ESC plan for inclusion into this plan set.

Include a copy of the approved plan in the Building Permit set.

If you have any questions, you can contact me at 924-3420.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Stormwater Quality

Planning Dept.

C:	email