March 9, 2017

David Soule, P.E.

Inspections Plus Inc.

4382 Alexander Blvd NE

Albuquerque, NM 87107

**Re: Guardian Storage- Work Order**

**Erosion and Sediment Control Plan**

**Engineer’s Stamp Date 3-8-17 (A11E015)**

Dear Mr. Soule,

Based upon the information provided in your submittal received 3-9-17, the above referenced plan is approved to be included in the SWPPP and to be included in the Work Order construction plans with the comment that:

1. Concerning the BMP “Saw Cut and/or Mulch Sock”, it is not obvious that a saw cut will work in a street due to the amount of flow and the slope of the street.

Include a copy of the approved plan in the Work Order construction plans.

If you have any questions, you can contact me at 924-3420.

 Sincerely,

 Curtis Cherne, P.E.

 Principal Engineer, Stormwater Quality

Planning Dept.

C: email