February 27, 2018

David Soule, P.E.

Inspections Plus Inc.

805 Nikanda Rd NE

Albuquerque, NM 87107

**Re: Kidz Academy**

**Erosion and Sediment Control Plan**

**Engineer’s Stamp Date 2-20-18 (A11E016)**

Dear Mr. Soule,

Based upon the information provided in your submittal received 2-21-18, the above referenced plan is approved to be included in the SWPPP and to apply for an ESC Permit for grading and Building Permit.

 Include a copy of the approved plan in the Building Permit set.

If you have any questions, you can contact me at 924-3420.

 Sincerely,

 Curtis Cherne, P.E.

 Principal Engineer, Stormwater Quality

Planning Dept.

C: email