## 04.2019Form
City of Albuquerque Stormwater Construction Site Inspection Report
General Information
ESC File No. | A11E017 |  | Project Name: |  | Unser/McMahonLots1 & 3-7
NPDES Id. No. | NMR1004PN |  | Location: |  | 10745 Unser Blvd
2023-05-08 |  | Owner |  |  |  | Contractor
Operator |  | Holly Partners LLC. |  |  |  | Insight
Contact name & title |  | Yogesh Patel |  |  |  | James Romero Sup
e-mail |  | yogi1020@gmail.com |  |  |  | James@insightnm.com
Contact Phone # |  | 275-8223 |  |  |  | 934-2511
COA Inspector |  | Doug Hughes |  |  |  | Start/End Time: |  | 10:30AM |  |  |  | Rain
Construction Phase: |  | Building on lot 4 & both new and old disturbance on other lots | [9 empty] | Clear/ Windy
Type of Inspection: |  | Regular |  | Storm Event | Post Storm Event >0.25" |  |  | 311/Complaint |  | Follow Up |  | Windy
Clear
Weather at time of inspection? |  |  |  | Clear |  | Temperature: ~ |  |  | 70 |  |  | Cloudy
Estimated date of last storm 0.25" or greater | [7 empty] | 2023-03-16 |  |  |  | Sleet
Clarify amount: ( i.e.. <1/4" to >3/4"): | [11 empty] | Fog
Item Number | Deficiency/ Corrective Action
1 | none - all previous areas of concern have been mitigated.
2
3
4
Yes
2.1 | Discharge off site? (Y/N) |  |  | no | [6 empty] | No
4 | Self Inspection Reports |  |  | n/a | Latest report Date: |  | 2023-04-26
Notes: | Subdivision complete, 2 buildings on lot 4 under roof.
Lots 2, 8, and 9 have been transferred to new owners. Lot 4 construction disturbed lots 3 and 5 and added stockpile on lot 1, Holly Partners LLC plans to build offices, first foundation just started. Tierra West has the SWPPP and is doing inspections. There isn't any Deligation of Authority so Yogesh Patel is the Operator according to the NOI. BMP instalation and maintenance says it is TBD.
City of Albuquerque Stormwater Inspector Signature and date:
| Contact information: |  | Doug Hughes (505) 924-3420
jhughes@cabq.gov

## Addendum
ESC File No. |  | Addendum to Deficiency Items
Date
Item Number | Deficiency/ Corrective Action