December 6, 2013

Lawrence Read, P.E.

Larry Read and Associates, Inc.

2430 Midtown, Suite C

Albuquerque, NM 87107

Re:	HME Specialists Office/Retail, Grading and Drainage Plan

Engineer’s Stamp Date 12-06-13 (A12D008C)

Dear Mr. Read,

Based upon the information provided in your submittal received 12-06-13, the above referenced plan is approved for Building Permit based on the following condition:

- Remove the retaining wall/headerwall along the sidewalk where it enters the City of Albuquerque right-of-way along Golf Course Road.

A separate is required for construction within City ROW.  A copy of this approval letter must be on hand when applying for the excavation/barricading permit.

This project requires a National Pollutant Discharge Elimination System (NPDES) permit for storm water discharge for disturbing one acre or more and a Topsoil Disturbance Permit for disturbing ¾ of an acre or more.  Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology.  Prior to Certificate of Occupancy release, Engineer Certification per the DPM checklist will be required.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Principal Engineer, Planning Dept.

Development Review Services

C:	e-mail