## 04.2019Form
City of Albuquerque Stormwater Construction Site Inspection Report
General Information
ESC File No. | A12E008D |  | Project Name: |  | Wintergreen Apartments
NPDES Id. No. | NMR1004F2 |  | Location: |  | 10800 Golf Course Rd. NW
2022-04-20 |  | Owner |  |  |  | Contractor
Operator |  | ABQ Land LLC |  |  |  | Snyder Construction
Contact name & title |  | K P Stalland |  |  |  | Ben Sepehripour
e-mail |  | Peterstalland@stalland.net |  |  |  | bsepehripour@snyder-const.com
Contact Phone # |  | 651-433-0155
COA Inspector |  | Doug Hughes | [5 empty] | 3pm |  |  |  | Rain
Construction Phase: |  | plumbing | [9 empty] | Clear/ Windy
Type of Inspection: |  | Regular |  | Storm Event | Post Storm Event >0.25" |  |  | 311/Complaint |  | Follow Up |  | Windy
Clear
Weather at time of inspection? |  |  |  | Clear |  | Temperature: ~ |  |  | 88 |  |  | Cloudy
Estimated date of last storm 0.25" or greater | [7 empty] | 2022-03-23 |  |  |  | Sleet
Clarify amount: ( i.e.. <1/4" to >3/4"): | [11 empty] | Fog
Item Number | Deficiency/ Corrective Action
1 | NPDES permit coverage wasn't posted. You must post a sign or other notice of your permit coverage at a safe, publicly accessible location in close proximity to the construction site per CGP 1.5.
2 | The SWPPP wasn't up-to-date. Both operator signatures were missing on the Certification, and the NOIs were missing. Provide the missing information.
Yes
2.1 | Discharge off site? (Y/N) |  |  | no | [6 empty] | No
4 | Self Inspection Reports |  |  | n/a | Latest report Date: |  | 2022-03-21
Notes:
Site was mostly graded with retaining walls and utility work under way. Perimeter Silt Fence, two sediment traps and the construction entrance were installed. The NE pond was still missing and a large portion of the site is graded to drain concentrated flow at the southwest corner of the site threatening to discharge sediment to the Black Arroyo.
The SWPPP is in the trailer and Snyder Deligated Authority to Ben Sepehripour and Gary Christian. Inspections Plus is installig BMPs and Tierra West is inspecting and managing SWPPP.
City of Albuquerque Stormwater Inspector Signature and date:
| Contact information: |  | Doug Hughes (505) 924-3420
jhughes@cabq.gov

## Addendum
ESC File No. |  | Addendum to Deficiency Items
Date
Item Number | Deficiency/ Corrective Action