February 3, 2012

Ronald R. Bohannan, P.E.

Tierra West, LLC

5571 Midway Park Pl NE

Albuquerque, NM 87109

Re:	Spectrum Assisted Living, Lot 1 B-1 Golf Course Road

Grading and Drainage Plan

Engineer’s Stamp date 01-20-12 (A12/D025)

Dear Mr. Bohannan,

Based upon the information provided in your submittal received 01-24-12, the above referenced plan is approved for Building Permit.

This project requires a National Pollutant Discharge Elimination System (NPDES) permit for storm water discharge and a Topsoil Disturbance Permit since it is disturbing ¾ of an acre or more.  Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology.  Prior to Certificate of Occupancy release, Engineer Certification per the DPM checklist will be required.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Service

# C:	file