September 17, 2012

Fred C. Arfman, P.E.

Isaacson & Arfman, P.A.

128 Monroe St. NE

Albuquerque, NM 87108

Re:	Paradise Bakery

Grading and Drainage Plan

Engineer’s Stamp dated 8-29-12 (A14/D006)

Dear Mr. Arfman,

Based upon the information provided in your submittal received 9-4-12, the above referenced plan is approved for Grading Permit and Building Permit. Hydrology is requesting that all proposed landscape areas are depressed to retain/infiltrate the moisture that falls on them.

Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology. Prior to Certificate of Occupancy release, Engineer Certification per the DPM checklist will be required.

If you have any questions, you can contact me at 924-3695 or Rudy Rael at 924-3977.

Sincerely,

Shahab Biazar, P.E., CFM.

Senior Engineer, Planning Dept.

Development and Building Services

RER/SB

C:  File