February 15, 2012

Fred C. Arfman, P.E.

Isaacson & Arfman, P.A.

128 Monroe St. NE

Albuquerque, NM 87108

Re:	Lowes Subdivision Lot 3

Grading and Drainage Plan

Engineer’s Stamp dated 2-8-12 (A14/D006B)

Dear Mr. Arfman,

Based upon the information provided in your submittal received 2-8-12, the above referenced plan can not be approved for a Grading Permit or Building Permit until the following comments are addressed:

- Provide an analysis showing that the replacement of the “C” inlet with a “D” Inlet will not cause an unacceptable amount of bypass flow with a 50% clogging factor or can the inlet be moved to the east?

Hydrology is requesting that all proposed landscape areas are depressed to retain/infiltrate the moisture that falls on them.

If you have any questions, you can contact me at 924-3986 or Rudy Rael at 924-3977.

Sincerely,

Curtis Cherne, P.E., CFM.

Principal Engineer, Planning Dept.

Development and Building Services

RER/CAC

C:  File