March 20, 2015

Mike Walla, P.E.

Walla Engineering

6501 America’s Parkway NE, Suite 301

Albuquerque, NM 87110

Re:	Corrales Business Park

Conceptual Grading and Drainage Plan

Engineer’s Stamp Date 3-19-15 (A14D011)

Dear Mr. Walla,

Based upon the information provided in your submittal received 3-19-15, the above referenced plan is approved for Site Plan for Building Permit action by the DRB.

The following comments should be addressed when submitting a plan for Building Permit approval:

- It appears that half of NM 528 drains into the site in the existing condition.  Include this offsite basin in determining the WSE in Basin 2.

- Provide a stage-volume table or calculations to support the ponding area and WSE in Basin 2.

If you have any questions, you can contact me at 924-3986.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Hydrology

Planning Dept.

C:	e-mail