August 26, 2013

Vincent P. Carrica, P.E.

Tierra West, LLC

5571 Midway Park Place NE

Albuquerque, NM 87109

Re:	Boulders Phase III (B10/D001D)

Grading and Drainage Plan

Engineer’s Stamp Date: 8/18/2013

Dear Mr. Carrica,

Based upon the information provided in your submittal received 7/19/2013, the above referenced Grading and Drainage Plan can not be approved unit the following comments have been addressed:

- Existing contours are not shown clearly.

- Update storm drain pipe sizes on the plan.

- Construction easement will be required south end of the Stoney Draw Road.

- Include top and bottom elevations for the proposed floodwall on Sheet 2.

- Fix the finish contour for the lots where the runoff appears to drain to the back.

- Provide the Bench Mark Information on the plan.

- Include a note on the plan that “All Curb & Gutter for Phase III are Standard Curb and Gutter per City Standard Drawing # 2415A”.

- Will there be any easement required for the construction of the 24” pipe across the APS site?

- Re-submit the drainage report with all the recent drainage calculations.  Please include the inlet and pipe capacity calculations as well.

- Provide Erosion Sediment Control Plan.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	e-mail