April 17, 2012

Bruce J. Stidworthy, P.E.

Bohannan Huston, Inc.

7500 Jefferson NE Courtyard 1

Albuquerque, NM 87109

Re:	Ventana Ranch Community Park, Drainage Management Plan

Engineer’s Stamp Date 3/29/12 (B10/D003)

Dear Mr. Stidworthy,

Based upon the information provided in your submittal received 3/29/2012, the above referenced plan cannot be approved for Site Plan action by the DRB until the following comments are addressed:

- AMAFCA approval is required.

- Show the Zone A flood zone.  The proposed building must be outside the limits of the flood zone or a LOMR will be required.

- Are the pedestrian crossings across the arroyos grade separated?

If you have any questions, you can contact me at 924-3986.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Planning Dept.

Development and Building Services

C:	File