## 04.2019Form
City of Albuquerque Stormwater Construction Site Inspection Report
General Information
ESC File No. | B10E003H |  | Project Name: |  | Dion's Restaurant
NPDES Id. No. | NMR1004HO & NMR1004IK |  | Location: |  | 9620 Universe Blvd
2023-03-06 |  | Owner |  |  |  | Contractor
Operator |  | Dion's Pizza |  |  |  | Klinger Construction terninated 11/30/22
Contact name & title |  | Don Winebrenner
e-mail |  | Dwinebrenner@dions.com
Contact Phone # |  | 858-1010
COA Inspector |  | Doug Hughes | [5 empty] | 2pm |  |  |  | Rain
Construction Phase: |  | Occupied | [9 empty] | Clear/ Windy
Type of Inspection: |  | Regular |  | Storm Event | Post Storm Event >0.25" |  |  | 311/Complaint |  | Follow Up |  | Windy
Clear
Weather at time of inspection? |  |  |  | Clear |  | Temperature: ~ |  |  | 62 |  |  | Cloudy
Estimated date of last storm 0.25" or greater | [7 empty] | 2022-12-03 |  |  |  | Sleet
Clarify amount: ( i.e.. <1/4" to >3/4"): | [11 empty] | Fog
Item Number | Deficiency/ Corrective Action
1 | The site satisfies the Final Stabelization Criteria CGP2.2.14.c. - Cverage under CGP ID # NMR1004IK is still active on the EPA's web site and needs to be Terminated. You must provide the documentation required in CGP 8.2 to the EPA in order to terminate coverage. Please e-mail me copies of the documentation and proof that your Notice of Termination (NOT) has been accepted by the EPA .
Yes
2.1 | Discharge off site? (Y/N) |  |  | no | [6 empty] | No
4 | Self Inspection Reports |  |  | n/a | Latest report Date: |  | 2022-03-28
Notes:
City of Albuquerque Stormwater Inspector Signature and date:
| Contact information: |  | Doug Hughes (505) 924-3420
jhughes@cabq.gov

## Addendum
ESC File No. |  | Addendum to Deficiency Items
Date
Item Number | Deficiency/ Corrective Action