September 20, 2012

Ronald Bohannan, P.E.

Tierra West, LLC

5571 Midway Park Place NE

Albuquerque, NM 87109

Re:	Boulders Phase I and II

Grading and Drainage Plan

Engineer’s Stamp Date 8/28/2012 (B11/D001C)

Dear Mr. Bohannan,

Based upon the information provided in your submittal received 8/28/2012, the above referenced Grading and Drainage Plan is approved for Preliminary Plat approval.  The following comments have to be addressed prior to Work Order approval:

- Provide additional wall elevation for the walls west of Lots 107 through113 and South of Lots 101 through 105.

- Please make sure walls West of Lot 21 and NW corner of Lot 101 does not encroach into the clear site triangle.

- Remove the sidewalk culvert note between lots 29 and 30.

- Desilting pond may be required at the west end of Jagged Peak Road and      Glass Rock Road.

- Riprap may be required at the south end of Big Rock Drive.

- Provide emergency overflow calculations for the pond east of Unser Boulevard.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	e-mail