August 20, 2012

Ronald Bohannan, P.E.

Tierra West, LLC

5571 Midway Park Place NE

Albuquerque, NM 87109

Re:	Boulders Phase II and III

Grading and Drainage Plan

Engineer’s Stamp Date 7/26/2012 (B11/D001C)

Dear Mr. Bohannan,

Based upon the information provided in your submittal received 7/27/2012, the above referenced Grading and Drainage Plan can not be approved unit the following comments have been addressed:

- Please plot the plans on a larger scale (1=50’).

- Add existing elevations along the property lines.

- Provide grades and slopes along the centerline of the streets.

- Street capacity analysis was not provided for Phases II and III.

- Include storm drainage calculations for the proposed inlets, storm drain pipes, and other drainage structures.

- Add lot numbers.

- Provide sections for the retention pond.

- More detail is required for the portion of the storm drain being proposed through the retention pond.  What portions of the storm drain will be built? Provide a copy of the proposed plat and infrastructure list.

- Maintenance and Covenant will be required for the proposed retention pond.

- Have the grades been certified for the retention pond east of Unser Blvd.?

- Additional comments may be provided when the revised plan is submitted.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	e-mail