July 2, 2013

Vince Carrica, P.E.

Tierra West, LLC

5571 Midway Park Place NE

Albuquerque, NM 87109

Re:	Boulders Phase II Lots 58-78

Pad Certification Stamp Dated 6/28/2013

Engineer’s Stamp Date 10/24/2012 (B11/D001C)

Dear Mr. Carrica,

Based upon the information provided in your submittal received 6/28/2013, the above referenced Grading and Drainage Plan is accepted for pad Certification for lots 58-78.

Be advised, upon field verification for the pad sites, it appeared that the retaining wall behind lots 76 & 77 should be extended past lot 78. Lots 79 and 80 seemed to be 2 feet or more above lot 78.

If you have any questions, you can contact me at 924-3986 or Rudy Rael at 924-3977.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Planning Dept.

Development and Building Services

RR/CC

C:	e-mail