February 14, 2017

David Soule, P.E.

Rio Grande Engineering

9171 Glendale Ave NE

Albuquerque, NM 87122

Re:	Paradise View Universal Apartments

Erosion and Sediment Control Plan

Engineer’s Stamp Date 2-5-17 (B11E010)

Dear Mr. Soule,

Based upon the information provided in your submittal received 2-6-17 the above referenced plan is not approved to be included in the SWPPP, to apply for an ESC Permit for grading and Building Permit or to be included in the Work Order construction plans until the following comments are addressed:

1.  The plan does not have a legend for the BMPs.

2.  Proposed grades on the western, eastern and southern boundaries are higher than existing grades so sediment BMP is required on these boundaries.

Upload/attach a copy of the approved ESC Permit with the Building Permit submittal.

If you have any questions, you can contact me at 924-3420.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Stormwater Quality

Planning Dept.

C:	email