December 18, 2013

Richard J. Berry, Mayor

Mr. Fred Arfman, P.E.

Isaacson & Arfman, P.A.

128 Monroe St. NE

Albuquerque, New Mexico  87108

RE:	Longhorn Steakhouse- Retail Center 				B13-D003A2

9975 Coors By-Pass NW 				PE Stamp dated: - 12/16/2013

Drainage Report and Grading & Drainage Plan, Rev. 1 for Building Permit

Dear Mr. Arfman:

Based upon the information provided in your submittal received 12-16-2013, the above referenced Drainage Report and Grading & Drainage Plan, revision 1, meets the requirements for approval for Building Permit.

Please be advised that, before Building Permit can be issued, an Erosion and Sediment Control Plan prepared by a registered engineer under the laws of the State of New Mexico must be submitted to and approved by this office.

Please attach a copy of this approved plan to the Building Permit, construction sets prior to requesting sign-off by Hydrology.

Prior to Certificate of Occupancy release, an Engineer’s Certification of the As-Built grading and drainage at the site, will be required, per the DPM checklist (Chapter 22).

If you have questions, please email me at grolson@cabq.gov or phone 505-924-3994.

Sincerely,

Gregory R. Olson, P.E.

Senior Engineer

Orig:	Drainage file   DB13/D003A2

c.pdf	Addressee via Email  FredA@IAcivil.com