December 23, 2013

Richard J. Berry, Mayor

FASTrax

Mr. Kevin S. Gaskey

Kimberly-Horn and Associates, Inc.

601 NW Loop 410, Suite 350

San Antonio, Texas 78216

RE:	Longhorn Steakhouse- Retail Center 				B13-E003A2

9975 Coors By-Pass  NW

Erosion Sediment Control Plan (B13E003A2)

Engineer’s Stamp Date:  12/11/2013

Dear Mr. Gaskey,

Based upon the information provided in your submittal received 12-19-13, the referenced Erosion Sediment Control (ESC) Plan is approved for Building Permit.

One clarification is the lack of a BMP Detail for Inlet Protection (IP) on your detail sheet.   I did find the SWPPP plan for this site, in our office, and it included an Inlet Protection Detail.  We expect these details will be required by the SWPPP inspection team.

A copy of this approved ESC Plan must be included in the Building Permit sets prior to Hydrology sign-off.

Remember, the Contractor and Owner must also complete the eNOI (Notice Of Intent) through the EPA website 14-days prior to construction.

If you have questions, please email me at grolson@cabq.gov or phone 505-924-3994.

Sincerely,

Gregory R. Olson, P.E.

Senior Engineer

Orig:	Drainage file   B13/E003A2

c.pdf	Addressee via Email  Kevin.Gaskey@Kimley-Horn.com

Jamie.Krenek@Kimley-Horn.com