|  | Date: 09/25/19 |  |  |  |
| --- | --- | --- | --- | --- |
| Project: | Larry H Miller Hyundai |  |  |  |
| # Corrective Action Log |  |  |  |  |
| Number | Corrective Action Needed | Date Action Noted | Date Corrected | Date Correction Noted By Inspector |
| 1 | Post the NOI | 07/24/19 |  | 08/21/19 |
| 2 | Install a rain gauge | 07/24/19 |  |  |
| 3 | Repair the silt fencing where needed along Coors Blvd. Bypass | 07/24/19 |  | 08/21/19 |
| 4 | Install the silt fencing along the site perimeter per ESCP (Erosion and Sediment control Plan ) | 07/31/19 |  | 08/21/19 |
| 5 | The drop inlet on the South side needs inlet protection | 07/31/19 |  | 08/21/19 |
| 6 | No new issues at the time of this inspection Address previous issues | 08/07/19 |  | 08/07/19 |
| 7 | No new issues at the time of this inspection Address previous issues | 08/14/19 |  | 08/14/19 |
| 8 | No new issues at the time of this inspection | 08/21/19 |  | 08/21/19 |
| 9 | The site looked good at the time of this inspection | 08/28/19 |  | 08/28/19 |
| 10 | No new issues at the time of this inspection | 09/04/19 |  | 09/04/19 |
| 11 | No new issues at the time of this inspection | 09/11/19 |  | 09/11/19 |
| 12 | The site looked good at the time of this inspection | 09/18/19 |  | 09/18/19 |
| 13 | No new issues at the time of this inspection | 09/25/19 |  | 09/25/19 |
| SWPPP Management Signature: Date: |  |  |  |  |