June 2, 2014

Brian Warren

Bohannan Huston, Inc.

7600 Jefferson St NE

Albuquerque, NM 87109

Re:	Sid Cutter Pilot’s Pavilion, Conceptual Grading and Drainage Plan

Engineer’s Stamp Date –no stamp- (B17D001F)

Dear Mr. Warren,

Based upon the information provided in your submittal received 5-9-14, the above referenced plan is approved for Site Plan for Building Permit action by the DRB.

Address the following comments when submitting for Building Permit approval:

- Manholes will be required when making the 90 degree connection for two of the new storm drains.  A manhole or elbow will be required for making the 45 degree connection.

- How will the furthest north connection be made?  Is a collar required?

- Specify storm drain material.

- What does the hatching represent in the median south of the building?

If you have any questions, you can contact me at 924-3986.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Hydrology

Planning Department

C:	e-mail