December 6, 2012

Glenn S. Broughton, P.E.

Bohannan Huston, Inc.

7500 Jefferson NE

Albuquerque, NM 87109

Re:	Presbyterian Systems Office Drainage Management Plan and Grading and Drainage Plan, Engineer’s Stamp dated 11-29-12 (B17/D003)

Dear Mr. Broughton,

Based upon the information provided in your submittal received 11-29-12, the above referenced plan is approved for Building Permit.

This project requires a National Pollutant Discharge Elimination System (NPDES) permit for storm water discharge for disturbing one acre or more and a Topsoil Disturbance Permit for disturbing ¾ of an acre or more.  Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology.  Prior to Certificate of Occupancy release, Engineer Certification per the DPM checklist will be required.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	e-mail