May 8, 2019

Lelan Morrison, CPESC

Inspections Plus Inc.

805 Nikanda Rd NE

Albuquerque, NM 87107

**Re: Tract B1 North Gateway**

**Erosion and Sediment Control Plan**

**CPESC’s Stamp Date 4-30-19 (B18E024)**

Dear Mr. Morrison,

Based upon the information provided in your submittal received 5-2-19, the above referenced plan is approved to be included in the SWPPP and for NOI documentation review for grading with the following condition:

1. Existing inlet(s) will have inlet protection.

If you have any questions, you can contact me at 924-3420.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Stormwater Quality

Planning Dept.