May 21, 2018

David Soule, P.E.

Inspections Plus Inc.

805 Nikanda Rd NE

Albuquerque, NM 87107

**Re: Estates at Glendale Ph III-Ashton Homes**

**Erosion and Sediment Control Plan**

**Engineer’s Stamp Date 5-7-18 (B19E027)**

Dear Mr. Soule,

Based upon the information provided in your submittal received 5-7-18, the above referenced plan is approved to be included in the SWPPP and to apply for an ESC Permit for grading and Building Permit with the following condition:

1. A sediment BMP (cutback behind the curb, silt fence or mulch sock is required behind the curb on every lot.

If you have any questions, you can contact me at 924-3420.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Stormwater Quality

Planning Dept.

C: email