October 10, 2012

John M. MacKenzie, P.E.

Mark Goodwin & Associates, P.A.

P.O. Box 90606

Albuquerque, NM 87199

Re:	Estates @ Glendale, Lots 1 & 2,

Grading Plan for Pad Certification—Accepted

Engineer’s Stamp date 07-13-12 (B19/D027)

Certification date 10-09-12

Dear Mr. MacKenzie,

Based upon the information provided in your submittal received 10-09-12, the above referenced Certification is accepted for Building Permits.

Please address the following comments prior to additional certifications for this subdivision.

- The curb along the south side of Glendale, from the west property line to the inlet, will need completion.

- Completion on the retaining wall at the south end of Twilight Lane requires completion.

- Twilight will require asphalt pavement.

- Please certify the pond volume.

If you have any questions, you can contact me at 924-3999.

Sincerely,

Richard Dourte, P.E.

City Engineer—Planning Dept.

Development and Building Services

Copy:	e-mail

file