August 29, 2012

Mark Burak, P.E.

1512 Sagebrush Trl SE		DRAFT	DRAFT	DRAFT

Albuquerque, NM 87123

mburak@comcast.net

Re:	8801 Glendale Ave NE Drainage Report

Engineer’s Stamp dated 8-17-12 (B20/D021)

Dear Mr. Burak,

Based upon the information provided in your submittal received 8-17-12, the above referenced report has not adequately demonstrated that the construction activity will not increase the risk to human life or damage public and private property for the following reasons:

- The floodplain limits and flow rates in excess of 3000 cfs in the El Camino Arroyo at 8801 Glendale Ave NE are documented in the North Albuquerque Acres Master Drainage Plan (NAAMDP) , RTI 1998; the Letter of Map revision Case # 06-060B521P, Burak Consulting 2007 and this drainage report dated 8-17-12.   Therefore, the flowrate of 3700 cfs seems appropriate to use in the analysis of this site.

- The items that were built and the fill placed in the El Camino Arroyo at this location will adversely affect the historic flow path of the arroyo.

- Due to the property owner’s apparent disregard for storm drainage and flood control, an increase in impervious area cannot be mitigated with retention ponds.

- An approved grading and drainage plan, including the mitigation items listed below should be submitted to Hydrology for Building Permit approval so the plan can be certified in compliance with the Drainage Control Ordinance and Flood Hazard Control Ordinance.

Mitigation items:

- Remove the built items in the floodplain.  This includes the walls, fill, driveway, driveway bridge and the concrete that begins at the east edge of the property and curves to Glendale Ave., and any other item that has been constructed in the floodplain.

- Remove the basketball court.

- Demonstrate the home has not been constructed in the floodplain.

Sincerely,

Curtis A. Cherne, P.E., CFM

Principal Engineer, Planning Dept.

Development and Building Services

# C:	e-mail

City Legal